## Overview
Nodes
AB Nodes |  | 36
Turck Nodes |  | 51
Total Nodes |  | 87
Transfers |  | 33 | (All transfers use turck modules)
Elevators A & B
I provided an IO layout comparing the new IO to the original.
There will be one scanner on floor 2

## JORDAN PUNCHLIST
1 | DN2_1T, Default State?
Down
2 | AENT Module Definition
IP 192.168.5.120
Selector Switch for lines 1-5 Effects accumulation for product ready to press. Empty tote return will be operator dependant based on them dropping a tote.
.00 - Line 1 Active
.01 - Line 2 Active
.02 - Line 3 Active
.03 - Line 4 Active
.04 - Line 5 Active
3 | DN2_28, DN2_31, EN2_34 Tote release button definition
Will Update!
4 | DN2_9TB Scanner Mounted
Still waiting to mount this. Will update as soon as it is mounted.
5 | DN2_38T and DN2_40T, FINAL LINE = ? /FROM FINISHED PRESS = ?, Just need to talk through this so we know which is which
From finished press is what is labeled as finale product line.
6 | DN3 Transfer Definitions/Finalization
Modified DNet3 nodes
Still Need Default state for 4 and 5, and zones for 4
7 | DN2_56 is this a transfer? If not, how many zones?
This is the transfer with two zones before. Answer below explains mapping was misnumbered
8 | DN2_57T? On layout, not in list
57T should be labeled 56T
9 | DN2_38T Zoneing on drawing looks weird, description says 3 zones after…. Which is correct?
Modified DNet2 layout. The zoning is correct.

## ENet3 Main Switch
Main Switch (Managed)
| Port | VLAN
SFP Ports | 1
2
3
4
10/100Base-TX Port | 1 | From MCP
| 2 | Picking and Sticking
| 3 | Floor 2
| 4 | Folding Room
| 5 | Carousel & Shipping
6
7
8
9
10
11
12
13
14
15
16

## Transfer Turck Module
Transfers with Zones |  |  | Transfers + FWD & REV with Zones |  |  | Single Transfer |  |  | Double Transfer
Inputs |  |  | Inputs |  |  | Inputs |  |  | Inputs
0 | Zone 1 Present | White w/Brown Stripe | 0 | Zone 1 Present | White w/Brown Stripe | 0 | Spare | White w/Brown Stripe | 0 | Zone 1 | White w/Brown Stripe
1 | Zone 2 Present | White w/Black Stripe | 1 | Zone 2 Present | White w/Black Stripe | 1 | Spare | White w/Black Stripe | 1 | T1 Part Present | White w/Black Stripe | Transfer
2 | Zone 3 Present | White w/Pink Stripe | 2 | Zone 3 Present | White w/Pink Stripe | 2 | Spare | White w/Pink Stripe | 2 | T1 Down Position | White w/Pink Stripe | Transfer Type | Single
3 | Zone 4 Present | White w/Gray Stripe | 3 | Zone 4 Present | White w/Gray Stripe | 3 | Spare | White w/Gray Stripe | 3 | T1 Up Position | White w/Gray Stripe | Run Forward | Bands
4 | Spare | White w/Purple Stripe | Output | Run Reverse | Purple w/White Stripe | 4 | Spare | White w/Purple Stripe | 4 (Output) | Zone 1 Run | White w/Purple Stripe | Run Right | Rollers
5 | Part Present | White w/Orange Stripe | 5 | Part Present | White w/Orange Stripe | 5 | Part Present | White w/Orange Stripe | 5 | T2 Part Present | White w/Orange Stripe | Sensor | Drive Side
6 | Down Position | White w/Yellow Stripe | 6 | Down Position | White w/Yellow Stripe | 6 | Down Position | White w/Yellow Stripe | 6 | T2 Down Position | White w/Yellow Stripe | Run Control Wires | Left
7 | Up Position | White w/Green Stripe | 7 | Up Position | White w/Green Stripe | 7 | Up Position | White w/Green Stripe | 7 | T2 UP Position | White w/Green Stripe
Outputs |  |  | Outputs |  |  | Outputs |  |  | Outputs
8 | Zone 1 Run | Brown | 8 | Zone 1 Run | Brown | 8 | Spare | Brown | 8 | T1 Left or Right | Brown
9 | Zone 2 Run | White | 9 | Zone 2 Run | White | 9 | Spare | White | 9 | T1 Forward | White
10 | Zone 3 Run | Pink | 10 | Zone 3 Run | Pink | 10 | Run Reverse | Pink | 10 | T1 Up Position | Pink
11 | Zone 4 Run | Gray | 11 | Zone 4 Run | Gray | 11 | Run Forward | Gray | 11 | T1 Down Position | Gray
12 | Run Left or Right | Purple | 12 | Run Left or Right | Purple | 12 | Run Left | Purple | 12 | T2 Left or Right | Purple
13 | Run Forward | Orange | 13 | Run Forward | Orange | 13 | Run Right | Orange | 13 | T2 Forward | Orange
14 | Up Position | Yellow | 14 | Up Position | Yellow | 14 | Up Position | Yellow | 14 | T2 Up Position | Yellow
15 | Down Position | Green | 15 | Down Position | Green | 15 | Down Position | Green | 15 | T2 Down Position | Green
Transfers + LEFT & RIGHT with Zones
Inputs
[6 empty] | 0 | Zone 1 Present | White w/Brown Stripe
[6 empty] | 1 | Zone 2 Present | White w/Black Stripe
[6 empty] | 2 | Zone 3 Present | White w/Pink Stripe
[6 empty] | 3 | Zone 4 Present | White w/Gray Stripe
[6 empty] | Output | Run Left | Purple w/White Stripe
[6 empty] | 5 | Part Present | White w/Orange Stripe
[6 empty] | 6 | Down Position | White w/Yellow Stripe
[6 empty] | 7 | Up Position | White w/Green Stripe
Outputs
[6 empty] | 8 | Zone 1 Run | Brown
[6 empty] | 9 | Zone 2 Run | White
[6 empty] | 10 | Zone 3 Run | Pink
[6 empty] | 11 | Zone 4 Run | Gray
[6 empty] | 12 | Run Right | Purple
[6 empty] | 13 | Run Forward | Orange
[6 empty] | 14 | Up Position | Yellow
[6 empty] | 15 | Down Position | Green

## Elevator A
ELEVATOR A
VFD CHANGES
[8 empty] | "SLOT" | DESCRIPTION | NAME | OTHER INFO
INPUTS |  |  |  | ORIGINAL INPUTS |  |  |  | 0 | LIFT | 30003
I:1 |  |  | 1734-IB8 | I:1 |  | 1769-IQ16 |  | 1 | L3 OUTFEED SHUTTLE | 30009
0 | SAFETY RELAY FEEDBACK |  |  | 0 | SAFETY RELAY FEEDBACK |  |  | 2 | L4 INFEED SHUTTLE | 30015
1 | HOME PROX |  |  | 1 | SPARE |  |  | 3 | L4 OUTFEED SHUTTLE | 30021
2 | MCR FEEDBACK |  |  | 2 | MCR FEEDBACK |  |  | 4 | L3 INFEED SHUTTLE | 30027 | WAS 31009 FROM ELEV B
3 | DropOffCompleted_Prox |  |  | 3 | HOME PROX
4 | E-STOP PRESSED |  |  | 4 | E-STOP PRESSED
5 | L3 INFEED SHUTTLE - IN STOP PROX |  |  | 5 | L3 SHUTTLE - IN STOP PROX
6 | L3 INFEED SHUTTLE - IN SLOW PROX |  |  | 6 | L3 SHUTTLE - IN SLOW PROX
7 | L3 INFEED SHUTLE - OUT SLOW PROX |  |  | 7 | L3 SHUTTLE - OUT SLOW PROX
I:2 |  |  | 1734-IB8
0 | L3 INFEED SHUTTLE - OUT STOP PROX |  |  | 8 | L3 SHUTTLE - OUT STOP PROX
1 | L3 OUTFEED SHUTTLE - IN STOP PROX |  |  | 9 | L4 LH SHUTTLE - IN STOP PROX
2 | L3 OUTFEED SHUTTLE - IN SLOW PROX |  |  | 10 | L4 LH SHUTTLE - IN SLOW PROX
3 | L3 OUTFEED SHUTTLE - OUT SLOW PROX |  |  | 11 | L4 LH SHUTTLE - OUT SLOW PROX
4 | L3 OUTFEED SHUTTLE - OUT STOP PROX |  |  | 12 | L4 LH SHUTTLE - OUT STOP PROX
5 | L4 INFEEED SHUTTLE - IN STOP PROX |  |  | 13 | L4 RH SHUTTLE - IN STOP PROX
6 | L4 INFEEED SHUTTLE - IN SLOW PROX |  |  | 14 | L4 RH SHUTTLE - IN SLOW PROX
7 | L4 INFEED SHUTTLE - OUT SLOW PROX |  |  | 15 | L4 RH SHUTTLE - OUT SLOW PROX
I:3 |  |  | 1734-IB8 | I:2 |  | 1769-IQ16
0 | L4 INFEED SHUTTLE - OUT STOP PROX |  |  | 0 | L4 RH SHUTTLE - OUT STOP PROX
1 | L4 OUTFEED SHUTTLE - IN STOP PROX |  |  | 1 | L1 OUTFEED CONVEYOR PE 1
2 | L4 OUTFEED SHUTTLE - IN SLOW PROX |  |  | 2 | L1 OUTFEED CONVEYOR PE 2
3 | L4 OUTFEED SHUTTLE - OUT SLOW PROX |  |  | 3 | L2 INFEED CONVEYOR PE 1
4 | L4 OUTFEED SHUTTLE - OUT STOP PROX |  |  | 4 | L2 INFEED CONVEYOR PE 2
5 | L1 OUTFEED CONVEYOR PE 2 |  |  | 5 | L3 SHUTTLE CONVEYOR PE 1
6 | L1 OUTFEED CONVEYOR PE 1 |  |  | 6 | L3 SHUTTLE CONVEYOR PE 2
7 | L1 INFEED CONVEYOR PE 2 |  |  | 7 | L4 LH SHUTTLE CONVEYOR PE 1
I:4 |  |  | 1734-IB8
0 | L1 INFEED CONVEYOR PE 1 |  |  | 8 | L4 LH SHUTTLE CONVEYOR PE 2
1 | L3 INFEED SHUTTLE CONVEYOR PE 1 |  |  | 9 | L4 RH SHUTTLE CONVEYOR PE 1
2 | L3 INFEED SHUTTLE CONVEYOR PE 2 |  |  | 10 | L4 RH SHUTTLE CONVEYOR PE 2
3 | L3 OUTFEED SHUTTLE CONVEYOR PE 2 |  |  | 11 | L1 OUTFEED CONVEYOR ERROR
4 | L3 OUTFEED SHUTTLE CONVEYOR PE 1 |  |  | 12 | L2 INFEED CONVEYOR ERROR
5 | L4 INFEED SHUTTLE CONVEYOR PE 2 |  |  | 13 | L3 SHUTTLE CONVEYOR RUNNING
6 | L4 INFEED SHUTTLE CONVEYOR PE 1 |  |  | 14 | L4 LH SHUTTLE CONVEYOR ERROR
7 | L4 OUTFEED SHUTTLE CONVEYOR PE 1 |  |  | 15 | L4 RH SHUTTLE CONVEYOR ERROR
I:5 |  |  | 1734-IB8 | I:3 |  | 1769-IQ16
0 | L4 OUTFEED SHUTTLE CONVEYOR PE 2 |  |  | 0 | INTERFERENCE DETECTED PE |  | IS THIS USED???
1 | L1 INFEED CONVEYOR ERROR |  |  | 1 | SPARE
2 | L1 OUTFEED CONVEYOR ERROR |  |  | 2 | SPARE
3 | L3 INFEED SHUTTLE CONVEYOR ERROR |  |  | 3 | SPARE
4 | L3 OUTFEED SHUTTLE CONVEYOR ERROR |  |  | 4 | SPARE
5 | L4 INFEED SHUTTLE CONVEYOR ERROR |  |  | 5 | SPARE
6 | L4 OUTFEED SHUTTLE CONVEYOR ERROR |  |  | 6 | SPARE
7 | SPARE |  |  | 7 | SPARE
I:6 |  |  | 1734-IB8
0 | SPARE |  |  | 8 | SPARE
1 | SPARE |  |  | 9 | SPARE
2 | SPARE |  |  | 10 | SPARE
3 | SPARE |  |  | 11 | SPARE
4 | SPARE |  |  | 12 | SPARE
5 | SPARE |  |  | 13 | SPARE
6 | SPARE |  |  | 14 | SPARE
7 | SPARE |  |  | 15 | SPARE
OUTPUTS |  |  |  | ORIGINAL OUTPUTS
O:1 |  |  |  | O:4
0 | STACKLIGHT - RED |  |  | 0 | STACKLIGHT - RED
1 | STACKLIGHT - YELLOW |  |  | 1 | STACKLIGHT - YELLOW
2 | STACKLIGHT - GREEN |  |  | 2 | STACKLIGHT - GREEN
3 | STACKLIGHT - AUDIBLE ALARM |  |  | 3 | STACKLIGHT - AUDIBLE ALARM
4 | STACKLIGHT - RELAY RESET |  |  | 4 | STACKLIGHT - RELAY RESET
5 | L1 INFEED CONVEYOR RUN |  |  | 5 | ELEVATOR A - L1 OUTFEED CONVEYOR RUN
6 | L1 OUTFEED CONVEYOR RUN |  |  | 6 | ELEVATOR A - L2 INFEED CONVEYOR RUN
7 | L3 INFEED SHUTTLE CONVEYOR RUN |  |  | 7 | ELEVATOR A - L3 SHUTTLE CONVEYOR RUN
O:2
0 | L3 OUTFEED SHUTTLE CONVEYOR RUN |  |  | 8 | ELEVATOR A - L4 LH SHUTTLE CONVEYOR RUN
1 | L4 INFEED SHUTTLE CONVEYOR RUN |  |  | 9 | ELEVATOR A - L4 RH SHUTTLE CONVEYOR RUN
2 | L4 OUTFEED SHUTTLE CONVEYOR RUN |  |  | 10 | SPARE
3 | SPARE |  |  | 11 | SPARE
4 | SPARE |  |  | 12 | SPARE
5 | SPARE |  |  | 13 | SPARE
6 | SPARE |  |  | 14 | SPARE
7 | SPARE |  |  | 15 | SPARE
| ENCODER CARD |  | 1734-VHSC2 |  | ENCODER CARD | 1769-HSC
0 | ENCODER A0+ |  |  | 0 | ENCODER A0+
1 | ENCODER A0- |  |  | 1 | ENCODER A0-
2 | ENCODER B0+ |  |  | 2 | ENCODER B0+
3 | ENCODER B0- |  |  | 3 | ENCODER B0-
4 |  |  |  | 4
5 |  |  |  | 5
6 |  |  |  | 6
7 |  |  |  | 7

## Elevator B
ELEVATOR B
VFD CHANGES
[5 empty] | "SLOT" | DESCRIPTION | NAME | OTHER INFO
INPUTS |  |  | ORIGNAL INPUTS |  | 0 | LIFT | 31003
I:1 |  |  | I:1 |  | 1 | L3 INFEED SHUTTLE | 31015
0 | SAFETY RELAY FEEDBACK |  | 0 | SAFETY RELAY FEEDBACK
1 | MURR DB90 |  | 1 | MURR DB90
2 | SPARE |  | 2 | SPARE
3 | MCR FEEDBACK |  | 3 | MCR FEEDBACK
4 | E-STOP PRESSED |  | 4 | E-STOP PRESSED
5 | HOME PROX |  | 5 | HOME PROX
6 | L3 SHUTTLE - IN SLOW PROX |  | 6 | L2 SHUTTLE - IN SLOW PROX
7 | L3 SHUTTLE - IN STOP PROX |  | 7 | L2 SHUTTLE - IN STOP PROX
I:2 |  |  | I:2
0 | L3 SHUTTLE - OUT SLOW PROX |  | 0 | L2 SHUTTLE - OUT SLOW PROX
1 | L3 SHUTTLE - OUT STOP PROX |  | 1 | L2 SHUTTLE - OUT STOP PROX
2 | SPARE |  | 2 | L3 SHUTTLE - IN SLOW PROX
3 | SPARE |  | 3 | L3 SHUTTLE - IN STOP PROX
4 | SPARE |  | 4 | L3 SHUTTLE - OUT SLOW PROX
5 | SPARE |  | 5 | L3 SHUTTLE - OUT STOP PROX
6 | L1 OUTFEED CONVEYOR PE 1 |  | 6 | L1 OUTFEED CONVEYOR PE 1
7 | L1 OUTFEED CONVEYOR PE 2 |  | 7 | L1 OUTFEED CONVEYOR PE 2
I:3 |  |  | I:3
0 | L2 INFEED CONVEYOR PE 1 |  | 0 | L2 SHUTTLE CONVEYOR PE 1
1 | L2 INFEED CONVEYOR PE 2 |  | 1 | L2 SHUTTLE CONVEYOR PE 2
2 | L3 SHUTTLE CONVEYOR PE 1 |  | 2 | L3 SHUTTLE CONVEYOR PE 1
3 | L3 SHUTTLE CONVEYOR PE 2 |  | 3 | L3 SHUTTLE CONVEYOR PE 2
4 | L1 OUTFEED CONVEYOR ERROR |  | 4 | L4 INFEED CONVEYOR PE 1
5 | L2 INFEED CONVEYOR ERROR |  | 5 | L4 INFEED CONVEYOR PE 2
6 | L3 SHUTTLE INFEED CONVEYOR ERROR |  | 6 | L1 OUTFEED CONVEYOR RUNNING
7 | SPARE |  | 7 | L2 SHUTTLE CONVEYOR RUNNING
I:4 |  |  | I:4
0 | SPARE |  | 0 | L3 SHUTTLE CONVEYOR RUNNING
1 | SPARE |  | 1 | L4 INFEED CONVEYOR RUNNING
2 | SPARE |  | 2 | SPARE
3 | SPARE |  | 3 | SPARE
4 | SPARE |  | 4 | SPARE
5 | SPARE |  | 5 | SPARE
6 | SPARE |  | 6 | SPARE
7 | SPARE |  | 7 | SPARE
OUTPUTS |  |  | ORIGINAL OUTPUTS
O:1 |  |  | O:1
0 | STACKLIGHT - RED |  | 0 | STACKLIGHT - RED
1 | STACKLIGHT - YELLOW |  | 1 | STACKLIGHT - YELLOW
2 | STACKLIGHT - GREEN |  | 2 | STACKLIGHT - GREEN
3 | STACKLIGHT - AUDIBLE ALARM |  | 3 | STACKLIGHT - AUDIBLE ALARM
4 | STACKLIGHT - RELAY RESET |  | 4 | STACKLIGHT - RELAY RESET
5 | L1 OUTFEED CONVEYOR RUN |  | 5 | ELEVATOR B - L1 OUTFEED CONVEYOR RUN
6 | L2 INFEED CONVEYOR RUN |  | 6 | ELEVATOR B - L2 SHUTTLE CONVEYOR RUN
7 | L3 INFEED CONVEYOR RUN |  | 7 | ELEVATOR B - L3 SHUTTLE CONVEYOR RUN
O:2 |  |  | O:2
0 | SPARE |  | 0 | ELEVATOR B - L4 INFEED CONVEYOR RUN
1 | SPARE |  | 1 | SPARE
2 | SPARE |  | 2 | SPARE
3 | SPARE |  | 3 | SPARE
4 | SPARE |  | 4 | SPARE
5 | SPARE |  | 5 | SPARE
6 | SPARE |  | 6 | SPARE
7 | SPARE |  | 7 | SPARE

## DNet1 (Floor 2 Bottom)
Is working
|  |  | E |  |  | Needs to be tested or worked on | [10 empty] | Floor Level Conveyor
|  | ↖ | ↑ | ↗ |  | Needs Code Work PLC | [10 empty] | Turck I/O Module
| N | ← |  | → | S | Needs Code Work DNET | [10 empty] | AllenBradley I/O Module
|  | ↙ | ↓ | ↘ |  | DNET Code complete offline. Need to download once Node is communicating
|  |  | W |  |  | No Comms to Node Yet | [13 empty] | Floor 2 Pressing - Empty Tote Line
DN1 / Rec
1 | = | 4
2T | = | Up
3 | = | 2 | Control z1 and z2 in plc
4 | = | 6
5 | = | 8 | [20 empty] | Automated Press: Empty Tote Line
6 | = | 8
7 | = | 8
8 | = | 8 | [16 empty] | T |  |  | 26 | ß | 25T | à | 29 |  | T |  | T | ß | 35 |  | ß | 34T | à |  | 38 | à | T
9 | = | 8 | [12 empty] | 90 | à | 20T | [6 empty] | á | [10 empty] | á
10 | = | 8 | [12 empty] | 19 | [12 empty] | 30 |  | 36 |  |  |  |  | 33 |  |  |  |  | 39
11 | = | 8 | [10 empty] | T | à | 90 |  | 21 |  | 27 |  |  |  |  | 24
12 | = | 3 | [10 empty] | 18 | EMPTY TOTE RETURN |  |  | â |  | â |  |  |  | EMPTY TOTE RETURN |  |  |  |  | â |  | â |  |  |  | EMPTY TOTE RETURN | [5 empty] | â
13 | = | 4 | [10 empty] | á |  |  |  |  | RETURN TO FILL | [5 empty] | á |  |  |  |  | RETURN TO FILL | [5 empty] | á |  |  |  | RETURN TO FILL |  |  | MANUAL PRESS: EMPTY TOTE LINE
14 | = | 4 | [12 empty] | 1 | [5 empty] | 2 |  |  |  |  | 3 | [5 empty] | 4 | [5 empty] | 5 |  | 40
15 | = | 4 | [10 empty] | 17 |  |  |  | 22 |  | 28 |  |  |  |  | 23 |  |  |  | 31 |  | 37 |  |  |  |  | 32 | [9 empty] | EMPTY TOTES TO FILL
16T | = | Up | [10 empty] | á |  |  |  | â |  | â |  |  |  |  | á |  |  |  | â |  | â |  |  |  |  | á |  |  |  |  | â |  |  |  |  | ß | 44 |  | ß | 43 | T
á
DN1 / 2nd FL | [44 empty] | à | 41 | à |  | 42 | T
17 | = | 8 | Control Z8 | [5 empty] | Allen Bradley | ü | [34 empty] | RETURN TO FILL
18T | = | 5 | Two zones prior and 2 zones after, DWN | [5 empty] | Turck | ü
19 | = | 8 | Control Z1 and Z8 | [5 empty] | Allen Bradley | ü
20T | = | T | Transfer, DWN | [5 empty] | Turck | ü | Notes
21 | = | 6 | Control Z1 | [5 empty] | Allen Bradley | ü | 1 | Lines 1-5 will have accumulation for "EMPTY TOTES TO FILL" based on selector switches for each line.
22 | = | 8 | [6 empty] | Allen Bradley | ü | 2 | EXAMPLES
23 | = | 7 | [6 empty] | Turck | ü | 3 | Line 2 selector switch ON. Accumulate "EMPTY TOTE RETURN" to nodes 27 and 28 only.
24 | = | 7 | [6 empty] | Turck | ü | 4 | Line 1, 2, & 3 selector switch ON. Accumulate "EMPTY TOTE RETURN". Line 1 to nodes 21 & 22. Line 2 to nodes 27 & 28; 30 & 31 (Left/Right every other)
25T | = | T | 3 IN/5 OUT, UP | [5 empty] | Turck | ü | 5
26T | = | 5 | 4 zones before Transfer, DWN | [5 empty] | Turck | ü | 6
27 | = | 7 | [6 empty] | Turck | ü | 7
28 | = | 8 | Control Z1 | [5 empty] | Allen Bradley | ü | 8
29T | = | 5 | 4 zones brefore the transfer, DWN | [5 empty] | Turck | ü | 9
30 | = | 7 | [6 empty] | Turck | ü | 10
31 | = | 8 | Control Z1 | [5 empty] | Allen Bradley | ü | 11
32 | = | 8 | [6 empty] | Allen Bradley | ü | 12
33 | = | 6 | Control Z6 | [5 empty] | Allen Bradley | ü | 13
34T | = | T | 3 IN/5 OUT, UP | [5 empty] | Turck | ü | 14
35T | = | 5 | 4 zones before Transfer, DWN | [5 empty] | Turck | ü | 15
36 | = | 7 | [6 empty] | Turck | ü | 16
37 | = | 8 | Control Z1 | [5 empty] | Allen Bradley | ü | 17
38T | = | 5 | 4 ZONES BEFORE TRANSFER, DWN | [5 empty] | Turck | ü | 18
39 | = | 7 | Turck | [5 empty] | Turck | ü | 19
40 | = | 8 | Control Z1 | [5 empty] | Allen Bradley | ü | 20
41 | = | 8 | Control Z8 | [5 empty] | Allen Bradley | ü
42T | = | 4 | 2 zones before, 1 zone after, UP | [5 empty] | Turck | ü
43T | = | 5 | 2 ZONES BEFORE, 2 ZONES AFTER, DWN | [5 empty] | Turck | ü
44 | = | 8 | Control Z1 | [5 empty] | Allen Bradley | ü
[8 empty] | DNET IO MODULES | [16 empty] | Receiving Line
[7 empty] | AB | 12
[7 empty] | TURCK | 16 | [35 empty] | 1
↓
[13 empty] | (Dnet 4, 31) |  | ← | 16T | ← | 15 | ← | 14 | ← | 13 | ← | 12 | ← | 11 | ← | 10 | ← | 9 | ← | 8 | ← | 7 | ← | 6 | ← | 5 | ← | 4 | ← | 3 | ← | 2T
[16 empty] | Was 15 |  | Was 33 |  |  |  |  | Receiving Line | [18 empty] | Was 31 |  | Was 3

## DNet2 (Floor 2 Top)
Is working
|  | E |  |  | Floor Level Conveyor | [29 empty] | Needs to be tested or worked on
| ↖ | ↑ | ↗ |  | Rasied Conveyor | [29 empty] | Needs Code Work PLC
N | ← |  | → | S | Sloped Conveyor FINAL LINE | [7 empty] | Floor 2 Pressing - Product Line | [21 empty] | Needs Code Work DNET
| ↙ | ↓ | ↘ |  | Turck I/O Module | [29 empty] | DNET Code complete offline. Need to download once Node is communicating
|  | W |  |  | AllenBradley I/O Module | [29 empty] | No Comms to Node Yet
| DN2 | [18 empty] | Automated Press Line
| 1T | = | T | 4 ZONES AFTER TRANSFER, DOWN | TURCK | ü
| 2T | = | T | 4 ZONES BEFORE TRANSFER, DOWN | TURCK | ü | [14 empty] | Picked Product Ready To Press: AutoPress
| 3 | = | 6 | Control Z1 and Z6 | Allen Bradley | ü | [5 empty] | 90 |  |  | 19 |  |  | à |  | 20 | T | à |  |  |  | 21 |  |  | à | 22 | T |  |  |  | FINALE PRODUCT LINE
| 4T | = | T | 2 ZONES BEFORE, 1 ZONE AFTER, UP | TURCK | ü | [5 empty] | á |  |  |  | T | 36 | à |  | DWN |  | UP |  | 37 | à | 38T |  | à |  | DWN |  | UP |  | 39 | à | T |  | 40 | 90
| 5 | = | 6 | Control Z1 | Allen Bradley | ü | [5 empty] | 18 | [26 empty] | â
| 6 | = | 6 | Control Z6 | Allen Bradley | ü |  |  |  | à | [5 empty] | 29 |  |  |  |  | 25 |  |  |  |  | 32 |  |  |  |  | 23 |  |  |  |  | 35
| 7T | = | T | 2 ZONES AFTER, DWN | Turck | ü |  |  | 90 | à | T | 90 |  |  |  | á |  |  |  |  | â |  |  |  |  | á |  |  |  |  | â |  |  |  |  | á |  |  | 41
| 8 | = | 8 | Control Z1 | Allen Bradley | ü |  |  |  |  | 16 |  |  | LINE |  |  |  | LINE | [5 empty] | LINE |  |  |  | LINE |  |  |  |  | LINE
| 9T | = | T | 2 TRANSFERS. BOTH DWN | Turck | ü |  |  |  |  | â | READY TO PRESS |  | 1 | FINALE PRODUCT | 28 | FINALE PRODUCT | 2 |  | READY TO PRESS |  | READY TO PRESS |  | 3 | FINALE PRODUCT | 31 | FINALE PRODUCT | 4 |  | READY TO PRESS |  | READY TO PRESS | 5 |  | FINALE PRODUCT | 34
|  |  |  | 9TA is a pass through transfer for both DN3_3 zone 6 and EN3_39 zone 1 | [34 empty] | 90 | LG |  | 42 | à |  | 43 | à | 90
|  |  |  | When 9TB is clear DN2_3 zone 6 to 9TA runs FWD, DWN, as a pass through |  |  |  | á | 15 |  | â |  |  |  |  | á |  |  |  |  | â |  |  |  |  | á |  |  |  |  | â |  |  |  |  | á
|  |  |  | When EN3_40 zone 1 is clear EN3_39 zone 1 to 9TA runs LEFT, UP as a pass through | [6 empty] | 17 |  |  |  |  | 27 |  |  |  |  | 26 |  |  |  |  | 30 |  |  |  |  | 24 |  |  |  |  | 33 | [5 empty] | 44 | à |  | 45 | à | T
|  |  |  | Alternate between the two | [34 empty] | FINALE PRODUCT | [7 empty] | â
| 10 | = | 6 | Control Z1 | Allen Bradley | ü | [30 empty] | MANUAL PRESS LINE
| 11 | = | 8 |  | Allen Bradley | ü |  |  | á | [29 empty] | MANUAL: READY TO PRESS
| 12 | = | 8 |  | Allen Bradley | ü | [32 empty] | ß | 8 |  |  | ß | 7 | T |  | 46
| 13 | = | 8 | Control Z8 | Allen Bradley | ü | [41 empty] | FINALE PRODUCT LINE
| 14 | = | 7 |  | Turck | ü |  |  | 14 | [26 empty] | 4T |  | à |  | 5 |  |  | à | 6 | 90 |  | â
| 15 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü | [40 empty] | 47T
| 16T | = | T | 3 ZONES AFTER TRANSFER, DWN | Turck | ü | [29 empty] | á |  |  |  |  | Picked Product Ready To Press | [5 empty] | â
| 17 | = | 8 | Control Z1 | Allen Bradley | ü | [14 empty] | Picked Product Ready To Press: AutoPress | [25 empty] | 48
| 18 | = | 8 | Control Z1 | Allen Bradley | ü |  |  | 90 | ß |  |  | 13 |  |  | ß |  |  | 12 |  |  |  | ß |  | 11 |  |  |  | ß |  |  | 10 |  |  |  | 9TB | 9TA | ß |  | 3 |  | ß | 2T
| 19 | = | 8 | Control Z8 | Allen Bradley | ü | [10 empty] | ß | [18 empty] | 9T Scanner: 2 Options | [6 empty] | á |  |  |  | â
| 20T | = | T | 2 ZONES BEFORE, 2 ZONES AFTER, DWN | Turck | ü | [29 empty] | Manual Press
| 21 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü | [29 empty] | Automated Press | [10 empty] | 49
| 22T | = | T | 1 ZONE BEFORE, DWN | Turck | ü | [36 empty] | 1T
| 23 | = | 7 |  | Turck | ü | [34 empty] | Elev A |  | OutFeed L3 |  |  |  | â
| 24 | = | 8 |  | Turck | ü
| 25 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü | [40 empty] | 50
| 26 | = | 7 |  | Turck | ü | [43 empty] | MANUAL FOLDING
| 27 | = | 8 |  | Turck | ü | [40 empty] | â |  |  |  | FOLDING ROOM
| 28 | = |  | tote release buttons (I.00-.011 | Turck | ü
| 29 | = | 8 |  | Turck | ü | Notes | [39 empty] | 51
| 30 | = | 8 |  | Turck | ü | 1 | Scanner located at 9T. Scanner will deviate product for automated pressing or manual pressing.
| 31 | = |  | tote release buttons (I.00-.011 | Turck | ü | 2 | [39 empty] | â
| 32 | = | 8 |  | Turck | ü | 3 | Lines 1-5 will have accumulation for "READY TO PRESS" based on selector switches for each line.
| 33 | = | 8 |  | Turck | ü | 4 | [39 empty] | 57
| 34 | = |  | tote release buttons (I.00-.011 | Turck | ü | 5 | Pushbottons (nodes 28, 31, & 34) at every heatpress "FINALE PRODUCT" side. Buttons engage motors after the part is present (Update inputs/outputs)
| 35 | = | 8 |  | Turck | ü | 6 | [39 empty] | â |  | á
| 36T | = | T | 3 ZONES AFTER TRANSFER, DOWN | Turck | ü | 7 | [38 empty] | 52TB | 52TA | 55T | 56T | Scanner
| 37 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü | 8 | [36 empty] | Elev B |  |  |  | á | â | Manual or Auto Press
| 38T | = | T | Transfer followed by 3 zones, DWN FROM FINAL LINE, UP FROM FINISHED PRESS | Turck | ü | 9 | [40 empty] | 54 |  | No reads go to Manual Press
| 39 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü | 10 | [38 empty] | 53TA | → | 53TB |  |  | AUTO FOLDING
| 40T | = | T | 3 ZONES AFTER TRANSFER, DWN FROM FINAL LINE, UP FROM FINISHED PRESS | Turck | ü
| 41 | = | 8 | Control Z1 and Z8 | Allen Bradley | ü
| 42 | = | 7 | ZN 1 LIFTGATE, PP I.00, GATE CLOSED I.01, RUN ZN1 O.08 | Turck | ü
| 43 | = | 7 |  | Turck | ü
| 44 | = | 8 | Control Z8 | Allen Bradley | ü
| 45T | = | T | 3 ZONES BEFORE T, FINAL LINE DWN, MANUAL PRESS UP | Turck | ü | [9 empty] | DN1 | [6 empty] | DN2 |  |  |  |  | DN3
| 46 | = | 6 | Control Z1 and Z6 | Allen Bradley | ü | [8 empty] | AB | 12 |  |  |  |  | AB |  | 23 |  |  |  | AB |  | 2
| 47T | = | T | FOLLOWED BY 1 ZONE, DWN | Turck | ü | [8 empty] | TURCK | 16 |  |  |  |  | TURCK |  | 29 |  |  |  | TURCK |  | 5 | [6 empty] | AB |  | 36 |  | 2
| 48 | = | 4 | Control Z1 | Allen Bradley | ü | [8 empty] | TOTAL | 28 |  |  |  |  | TOTAL |  | 52 |  |  |  | TOTAL |  | 7 | [6 empty] | TURCK |  | 52 |  | 5
| 49 | = | 4 |  | Allen Bradley | ü | [29 empty] | TOTAL |  | 88
| 50 | = | 4 | Control Z4 | Allen Bradley | ü
| 51 | = | 4 |  | Turck
| 52T | = | T | Two Transfers (52TB Elevator B InFeed) (A DWN Position) (B UP Position) | Turck | ü
| 53T | = | T | Two Transfers (53TA Elevator B OutFeed) (A DWN Position) (B DWN Position) | Turck | ü
| 54 | = | 4 | Control Z1 and Z4 | Allen Bradley | ü
| 55T | = | T | 2 ZONES AFTER, UP POSITION | Turck
| 56T | = | T | 2 zones after Transfer | Turck
Node 55T zone 2 to transfer runs RIGHT, UP
Zone 1 (Auto Press) Runs FWD, DWN
Zone 2 (Manual Press) runs REV, DWN
| 57 | = | 2 |  | Turck | ü

## ENet3_Picking & Sticking
S
| ↖ | ↑ | ↗ |  | Empty Tote Conveyor
E | ← |  | → | W | Product Conveyor | [6 empty] | PICKING/STICKING (Pre Press) - Ground Floor
| ↙ | ↓ | ↘ |  | Sloped Conveyor
|  | N |  |  | Turck I/O Module | [6 empty] | XL LINE (Finished Press) - Floor 2
Node / Zones | [8 empty] | IP Address |  | Picking & Sticking Overview | [16 empty] | XL Totes to Elevator Inbound L3
1 | = | 8 | [5 empty] | Turck | 192.168.3.1 | [6 empty] | XL Line
2 | = | 8 | [5 empty] | Turck | 192.168.3.2 | [7 empty] | ß | 43 |  |  | 42TB | [10 empty] | ß | 8 |  |  | ß | 7 | T
3T | = | T/4 | 2 zones before transfer flow â (Zone 1 & 2). Zone 2 to transfer. Transfer runs FWD , DWN |  |  |  |  | Turck | 192.168.3.3 | [6 empty] | 27T | L1 IN |  | L1 OUT |  | 42TA
[17 empty] | ELEVATOR A |  |  |  | POWER PANEL 5 |  | Main Switch | [5 empty] | 4T |  | à |  | 5 |  |  | à | 6 | 90
|  |  | 2 zones before transfer flow á (Zone 3 & 4). Zone 4 to transfer. Transfer runs REV, DWN | [12 empty] | á | [6 empty] | Vlan01 | [6 empty] | 39T |  | ß | 38 | [6 empty] | 90 | â
[16 empty] | 26T |  | ß | 25T | [9 empty] | á | â | ESW | ESW08 | [7 empty] | 37T | 47T | Scanner
|  |  | Empty zone 4 first. | [11 empty] | 7T |  |  |  | 8 | à |  |  | 9T | [8 empty] | Nodes 37-41 | [8 empty] | â | XL Line or Manual & Auto Press
|  |  | Transfer to Node 4 runs LEFT, UP. | [15 empty] | á | â | [8 empty] | 9TB | 9TA | ß |  | 3 |  | ß | 2T |  |  |  |  | 48 | No reads to Node 48
4T | = | T/4 | 3 zones before transfer (zones 1-3), 1 zone after (zone 4) |  |  |  |  | Turck | 192.168.3.4 |  |  |  |  | 1 | 6 | [7 empty] | 10 |  |  | FOLDING ROOM | [6 empty] | Power Panel 4 |  |  | á | [5 empty] | FINALE PRODUCT LINE
[10 empty] | HAI Robotics System |  |  |  | â | á |  |  |  | á |  |  |  | â | [6 empty] | 40
|  |  | Node 3T to transfer runs Right, UP. | [14 empty] | á | 24 | â | [9 empty] | â | Floor 2 VLAN02 enclosure below PP4 | [9 empty] | â
|  |  | Transfer to zone 4 runs FWD, DWN | [14 empty] | 33 |  | 36
5 | = | 8 | [5 empty] | Turck | 192.168.3.5 |  |  |  |  | 2 | 5 | [7 empty] | 11 | [6 empty] | 41T | à |  |  |  |  | 1T |  |  |  |  | 49
6 | = | 8 | [5 empty] | Turck | 192.168.3.6 |  |  |  |  | â | á |  |  |  | á |  |  |  | â | [7 empty] | Infeed L3 |  |  | Elev A |  | OutFeed L3
7T | = | T/2 | 2 Zone after transfer. |  |  |  |  | Turck | 192.168.3.7 | [9 empty] | 23 | [21 empty] | â
|  |  | Node 6 zone 8 to Transfer runs FWD, DWN. | [10 empty] | â | á |  |  | 32T |  | 31T
|  |  | Transfer to Zone 1 Runs Right, UP | [10 empty] | 3Tà | 4T |  |  |  |  | á |  |  |  |  | â
8 | = | 8 | [5 empty] | Turck | 192.168.3.8 |  |  |  |  | á | á |  |  |  |  | 30T | ß | 29 |  | ß | 28T
9T | = | T | Single transfer. |  |  |  |  | Turck | 192.168.3.9 | [12 empty] | Downhill Swing Gate |  |  | á
|  |  | Node 8 zone 8 to transfer runs RIGHT, UP. | [11 empty] | 90
Transfer to Node 10 runs FWD, DWN
10 | = | 8 | [5 empty] | Turck | 192.168.3.10
11 | = | 8 | [5 empty] | Turck | 192.168.3.11
12 | = | 8 | [5 empty] | Turck | 192.168.3.12 |  | Picking To Sticking | [16 empty] | Sticking Empty Tote Return To Picking
13 | = | 8 | [5 empty] | Turck | 192.168.3.13
14T | = | T | Single transfer. |  |  |  |  | Turck | 192.168.3.14
|  |  | Node 13 zone 8 to transfer runs FWD, DWN. | [13 empty] | L1 IN |  | L1 OUT | [13 empty] | L1 IN |  | L1 OUT
|  |  | Transfer to Node 15 runs Left, UP | [13 empty] | ELEVATOR A |  |  |  | POWER PANEL 5 |  | Main Switch | [9 empty] | ELEVATOR A |  |  |  | POWER PANEL 5 |  | Main Switch
15 | = | 8 | [5 empty] | Turck | 192.168.3.15 | [13 empty] | Vlan01 | [15 empty] | Vlan01
16T | = | T/2 | 2 Zones before transfer. |  |  |  |  | Turck | 192.168.3.16
|  |  | Zone 2 to transfer runs Left, UP. | [11 empty] | 7T |  |  |  | 8 | à |  |  | 9T | [7 empty] | 16T |  |  | ß | 15 |  |  |  | 14T
|  |  | Transfer to Node 17 runs FWD, DWN | [12 empty] | ESW | ESW02 | [14 empty] | ESW | ESW03
17 | = | 8 | [5 empty] | Turck | 192.168.3.17 |  |  |  |  | 1 | 6 |  | Nodes 5-11 | [5 empty] | 10 |  |  | FOLDING ROOM |  |  |  | 22 | 17 |  | Nodes 12-18 | [5 empty] | á |  |  |  | FOLDING ROOM
18 | = | 8 | [5 empty] | Turck | 192.168.3.18 | HAI Robotics System |  |  |  | â | á | [7 empty] | â |  |  |  | HAI Robotics System |  |  | á | â | [7 empty] | 13
19T | = | T/4 | 1 zone before transfer (zone 1) , 3 zones after transfer (zones 2-4). |  |  |  |  | Turck | 192.168.3.19
|  |  | Node 18 zone 8 to Node 19T zone 1 runs Fwd, DWN. | [10 empty] | 2 | 5 | [7 empty] | 11 | [6 empty] | 21 | 18 | [7 empty] | á
[14 empty] | â | á | [7 empty] | â | [6 empty] | á | â | [7 empty] | 12
Transfer to Node 20T runs RIGHT, UP
|  |  | Fill Zone 2 first | [10 empty] | â | á | ESW | ESW01 | [12 empty] | á | â | ESW | ESW04
20T | = | T/4 | Node 19T to transfer runs LEFT, UP |  |  |  |  | Turck | 192.168.3.20 |  |  |  |  | 3Tà | 4T |  | Nodes 1-4 | [12 empty] | 20T | ß19T |  | Nodes 19-22
|  |  | 2 zones after flow â (Zone 3 & 4). | [10 empty] | á | á | [15 empty] | â
|  |  | Transfer to zone 3 runs REV, DWN. | [26 empty] | â
|  |  | 2 Zones before flows á (Zone 1 & 2). | [11 empty] | 90 | [15 empty] | 90
Transfer to Zone 1 runs FWD, DWN.
Fill zone 3 first.
21 | = | 8 | [5 empty] | Turck | 192.168.3.21
22 | = | 8 | [5 empty] | Turck | 192.168.3.22 |  |  |  | Ready To Press | [14 empty] | Folding Room Empty Tote Return To Sticking
23 | = | 8 | [5 empty] | Turck | 192.168.3.23
24 | = | 8 | [5 empty] | Turck | 192.168.3.24
25T | = | T/3 | 3 zones before transfer |  |  |  |  | Turck | 192.168.3.25 | [6 empty] | 27T | L1 IN |  | L1 OUT | [13 empty] | L1 IN |  | L1 OUT
|  |  | Zone 3 to transfer runs FWD, DWN | [13 empty] | ELEVATOR A |  |  |  | POWER PANEL 5 |  | Main Switch | [9 empty] | ELEVATOR A |  |  |  | POWER PANEL 5 |  | Main Switch
|  |  | Transfer to Node 26T runs LEFT, UP | [12 empty] | á | [6 empty] | Vlan01 | [15 empty] | Vlan01
26T | = | T/2 | 2 zones before transfer |  |  |  |  | Turck | 192.168.3.26 | [6 empty] | 26T |  | ß | 25T | [15 empty] | ESW |  | ESW06
|  |  | Zone 2 to transfer runs FWD, DWN | [10 empty] | ESW07 |  |  |  | ESW | [15 empty] | 34T | à | 35T | Nodes 31-36
|  |  | Transfer to Node 27T runs Right, UP | [10 empty] | Nodes 23-27 |  |  |  |  | á | [16 empty] | â | [6 empty] | MANUAL FOLDING |  | `
27T | = | T/2 | 2 zones before transfer |  |  |  |  | Turck | 192.168.3.27 | [16 empty] | FOLDING ROOM
|  |  | Zone 2 to transfer runs LEFT, UP | [6 empty] | HAI Robotics System | [8 empty] | á | [7 empty] | HAI Robotics System
|  |  | Transfer to Elevator A runs FWD, DWN | [15 empty] | 24 | [14 empty] | á |  | â
28T | = | T/3 | 2 zones before transfer, 1 zone after transfer |  |  |  |  | Turck | 192.168.3.28 | [24 empty] | 33 |  | 36
Zone 1 (Auto Press) runs FWD, DWN
|  |  | Zone 2 (Manual Press) runs REV, DWN | [15 empty] | á
|  |  | Alternate between zone 1 and zone 2 | [15 empty] | 23
|  |  | Transfer to zone 3 runs LEFT, UP | [30 empty] | 32T | ß | 31T | Nodes 28-30
29 | = | 8 | Zones 5-8 are a pass through section down to Node 30T transfer. Wait for transfer to empty before sending to zone 5. |  |  |  |  | Turck | 192.168.3.29 | [26 empty] | á | ESw05 |  |  |  | ESW | â
[36 empty] | 30T |  | ß | 29 |  |  | 28T
[38 empty] | Downhill Swing Gate |  |  |  | á
30T | = | T | Single transfer |  |  |  |  | Turck | 192.168.3.30
|  |  | Node 29 to transfer runs LEFT, UP | [40 empty] | AUTO FOLDING
Transfer to Node 31T runs FWD, DWN
Swing gate closed sensor Input:04
If gate is not closed the following wont run:
Node 29: Zones 3-8 & Node 30T: transfer
31T | = | T/1 | 1 zone before transfer |  |  |  |  | Turck | 192.168.3.31
|  |  | Node 30T to transfer runs FWD, DWN | [10 empty] | Notes
Transfer to Node 32T Zone 1 runs LEFT, UP
32T | = | T/1 | 1 zone before transfer |  |  |  |  | Turck | 192.168.3.32 | [8 empty] | The following zones should only be pass throughs and not holding zones
|  |  | Zone 1 to transfer runs LEFT, UP | [10 empty] | Node 12 |  |  |  | Zones 1, 3, 5, & 8
|  |  | Transfer to Node 33 runs FWD, DWN | [10 empty] | Node 13 |  |  |  | Zones 3 & 6
33 | = | 8 | [5 empty] | Turck | 192.168.3.33 |  |  |  |  | Node 17 |  |  |  | Zones 2, 5, & 8
34T | = | T/1 | 1 Zone after transfer |  |  |  |  | Turck | 192.168.3.34 |  |  |  |  | Node 18 |  |  |  | Zone 3, 6, & 8
|  |  | Node 33 to transfer runs FWD, DWN | [10 empty] | Node 29/30 |  |  |  | Once N30T is clear release N29 Zone 4. Totes will pass through N29 Zones 5-N30T one at a time. A pushbutton will provide an input to request to open the gate. Once, the input is recieved do not advance N29 zone 4 or N30T to N31 Zone 1. If there is a tote in route let it stop at N30T. Once all zones and transfer are clear or the transfer is holding a tote a stack light will indicate it is clear to open the gate.
Transfer to Zone 1 runs RIGHT, UP
35T | = | T | Single transfer |  |  |  |  | Turck | 192.168.3.35
Node 34T zone 1 to transfer runs RIGHT, UP
|  |  | Transfer to Node 36 runs FWD, DWN | [10 empty] | Node 30 |  |  |  | Output 00 - Request to Enter (YELLOW Light)
36 | = | 8 | [5 empty] | Turck | 192.168.3.36 | [8 empty] | Output 01 - Gate Clear to Open (GREEN) Light
37T | = | T/3 | 3 Zones after transfer. |  |  |  |  | Turck | 192.168.3.37 | [8 empty] | Output 02 - Gate Is Open (RED) Light
|  |  | DN2 Node 47T to transfer runs LEFT, UP | [14 empty] | Input 03 - Request to open gate (Selector Switch, 1 = Request Active, 0 = Not Active)
|  |  | Scanner dependant: XL | [14 empty] | Input 04 - Gate closed sensor (1 = Closed, 0 = Open)
Transfer to Zone 1 runs FWD, DWN.
38 | = | 7 | [5 empty] | Turck | 192.168.3.38
39T | = | T/2 | 1 zone before and 1 zone after transfer |  |  |  |  | Turck | 192.168.3.39
Node 39T zone 1 to transfer runs LEFT,UP
Transfer to Zone 2 runs FWD, DWN.
Zone 2 sends tote onto DN2_9TA, UP, LEFT
DN2_9TA sends tote to EN3_40 zone 1, UP LEFT
40 | = | 6 | [5 empty] | Turck | 192.168.3.40
41T | = | T/4 | 4 zones after transfer |  |  |  |  | Turck | 192.168.3.41
Node 40 zone 7 to transfer runs FWD, DWN
Transfer to zone 1 runs LEFT, UP
42T | = | 2T | 2 Transfers |  |  |  |  | Turck | 192.168.3.42
Transfer A will receive product from Elevator A L1 outfeed
Elevator to Transfer A runs FWD, DWN
Transfer A to Transfer B runs LEFT, UP (for both)
Transfer B to Node 43 runs FWD, DWN
43 | = | 4 | Ends at zone 4 |  |  |  |  | Turck | 192.168.3.43
Is working
Needs to be tested or worked on
Needs Code Work PLC
Needs Code Work ENET
ENET Code complete offline. Need to download once Node is communicating
No Comms to Node Yet
Zones/Drives
Zones |  |  |  |  | 215
Total transfer (20) drives |  |  |  |  | 66
Totale drives controlled |  |  |  |  | 281
|  | INPUTS |  |  |  |  | OUTPUTS
Zones |  |  |  |  | 215 | Zones |  | 215
Transfer Up/Down |  |  |  |  | 44 | Transfer Up/Down |  | 44
Transfer PP |  |  |  |  | 22 | Tranfer Forward |  | 22
Swinggate |  |  |  |  | 1 | Transfer Reverse |  | 3
Total |  |  |  |  | 282 | Transfer Left/Right |  | 22
[6 empty] | Total |  | 306

## ENet3_Picking & Sticking Comms
Conveyor Main Switch (Managed) |  |  | Picking & Sticking |  |  | Picking & Sticking - ESW01 |  |  | Picking & Sticking - ESW02
| Port | VLAN |  | Port | Switch Connected |  | Port | Nodes |  | Port | Nodes
SFP Ports | 1 |  | 10/100Base-TX Port | 1 | From Main Switch | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port
| 2 |  |  | 2 | ESW01 (5 Port) - Nodes 1-4 |  | 2 | Node 1 |  | 2 | Node 5
| 3 |  |  | 3 | ESW02 (8 Port) - Nodes 5-11 |  | 3 | Node 2 |  | 3 | Node 6
| 4 |  |  | 4 | ESW03 (8 Port) - Nodes 12-18 |  | 4 | Node 3 |  | 4 | Node 7
10/100Base-TX Port | 1 | From MCP |  | 5 | ESW04 (5 Port) - Nodes 19-20 |  | 5 | Node 4 |  | 5 | Node 8
| 2 | Picking and Sticking |  | 6 | ESW05 (5 Port) - Nodes 28-30 |  |  |  |  | 6 | Node 9
| 3 | Floor 2 |  | 7 | ESW06 (8 Port) - Nodes 31-36 |  |  |  |  | 7 | Node 10
| 4 |  |  | 8 | ESW07 (8 Port) - Nodes 23-27 |  |  |  |  | 8 | Node 11
5
6
| 7 |  |  |  |  | Picking & Sticking - ESW03 |  |  | Picking & Sticking - ESW04
| 8 | [5 empty] | Port | Nodes |  | Port | Nodes
| 9 |  |  |  |  | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port
| 10 | [5 empty] | 2 | Node 12 |  | 2 | Node 19
| 11 | [5 empty] | 3 | Node 13 |  | 3 | Node 20
| 12 | [5 empty] | 4 | Node 14 |  | 4 | Node 21
| 13 | [5 empty] | 5 | Node 15 |  | 5 | Node 22
| 14 | [5 empty] | 6 | Node 16
| 15 | [5 empty] | 7 | Node 17
| 16 | [5 empty] | 8 | Node 18
[6 empty] | Picking & Sticking - ESW05 |  |  | Picking & Sticking - ESW06
[7 empty] | Port | Nodes |  | Port | Nodes
[6 empty] | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port 6
[7 empty] | 2 | Node 28 |  | 2 | Node 31
[7 empty] | 3 | Node 29 |  | 3 | Node 32
[7 empty] | 4 | Node 30 |  | 4 | Node 33
[7 empty] | 5 |  |  | 5 | Node 34
[10 empty] | 6 | Node 35
[10 empty] | 7 | Node 36
8
[6 empty] | Picking & Sticking - ESW07 |  |  | Picking & Sticking - ESW08
[7 empty] | Port | Nodes |  | Port | Nodes
[6 empty] | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port 6 | 10/100Base-TX Port | 1 | Picking & Sticking Switch- Port 6
[7 empty] | 2 | Node 23 |  | 2 | Node 28
[7 empty] | 3 | Node 24 |  | 3 | Node 29
[7 empty] | 4 | Node 25 |  | 4 | Node 30
[7 empty] | 5 | Node 26 |  | 5
[7 empty] | 6 | Node 27
7
8
XL Line - ESW09
[7 empty] | Port | Nodes
[6 empty] | 10/100Base-TX Port | 1 | Pressing Switch- Port 6
[7 empty] | 2 | Node 37
[7 empty] | 3 | Node 38
[7 empty] | 4 | Node 39
[7 empty] | 5 | Node 40
[7 empty] | 6 | Node 41
[7 empty] | 7 | Spare
[7 empty] | 8 | Spare

## ENet3_Ship>Folding Empty Line
|  | S |  |  | Empty Tote Conveyor
| ↖ | ↑ | ↗ |  | Product Conveyor
E | ← |  | → | W | Sloped Conveyor |  |  | FOLDING, CAROUSEL, & SHIPPING EMPTY TOTE RETURN LINE
| ↙ | ↓ | ↘ |  | Carousel Conveyor interlock
|  | N |  |  | Existing Conveyor
Turck I/O Module
Node / Zones | [6 empty] | IP Address
86 | = | 7 |  |  |  | Turck | 192.168.3.86
87 | = | 6 | Ends at zone 6 |  |  | Turck | 192.168.3.87
88T | = | T/3 | Transfer alternates between zone 1 and zone 2 |  |  | Turck | 192.168.3.88 | [10 empty] | Auto Folding
N88T_zone1 to transfer runs FWD, DWN
|  |  | N88T_zone2 to transfer runs REV, DWN | [20 empty] | à | [8 empty] | 90°
Transfer to N88T_zone3 runs LEFT, UP
CLICK PLC - Carousel Transfer & Conveyor:
N88T_zone3 to transfer runs REV, DWN
PLC2 output Y202
|  |  | Output: Carousel Transfer run REV | [29 empty] | â
|  |  | Condition the run for zone prior to the transfer | [9 empty] | 103T |  |  |  | 104 | à | [6 empty] | à | 105 |  |  |  | 106TA |  |  | EN3_28T
|  |  | with a request to send from N88T_zone3. | [9 empty] | á | [19 empty] | á
|  |  | Request will block zone prior from going to transfer | [9 empty] | 100T |  |  |  | 102 | ß | 101T | [10 empty] | â
|  |  | Condition zone 3 with: | [9 empty] | á | [6 empty] | ESW |  |  |  |  | ß | 107 |  |  |  | 106TB
|  |  | carousel transfer readyforpackage | [9 empty] | 98T | ß | 99 |  |  |  | á | PP1 ESW 04 Nodes 101-107
89T | = | T/2 | Transfer alternates between zone 1 and zone 2 |  |  | Turck | 192.168.3.89 | [17 empty] | Manual Folding
|  |  | N89T_zone1 to transfer runs FWD, DWN | [29 empty] | á
|  |  | N89T_zone2 to transfer runs REV, DWN | [9 empty] | á | [12 empty] | 108 |  | à |  |  |  | 109 | 90°
|  |  | Transfer to N88T_zone3 runs RIGHT, UP | [9 empty] | 96T | à | 97 | [15 empty] | PP1 ESW 02 Nodes 108-109 | ESW
|  |  | CLICK PLC - Carousel Transfer & Conveyor: | [9 empty] | á
|  |  | N89T_Transfer to transfer runs REV, DWN | [10 empty] | ESW | PP1 ESW06 Nodes 94-100
|  |  | PLC2 output Y204 | [9 empty] | 95T | ß |  |  |  | 94 |  |  |  | 93T
|  |  | Output: Carousel Transfer run REV | [18 empty] | á
Condition the run for zone prior to the transfer
|  |  | with a request to send from N89T Transfer | [18 empty] | 92
Request will block zone prior from going to transfer
|  |  | Condition N89T Transfer with: | [12 empty] | Carousel 5 | [8 empty] | Carousel 4
|  |  | carousel transfer readyforpackage | [10 empty] | z1â | [7 empty] | á | [8 empty] | âz1
90T | = | T/3 | Transfer alternates between zone 1 and zone 2 |  |  | Turck | 192.168.3.90 | [6 empty] | 90T | z3à | CT4 | Zone Prior |  |  |  | ß | CT3 | à |  |  |  | Zone Prior |  | CT6 | ßz3 | 91T
|  |  | Zone 1 to transfer runs FWD, DWN | [10 empty] | z2á | [5 empty] | PP2 ESW02 Nodes 90-93 | ESW | á | [8 empty] | áz2
|  |  | Zone 2 to transfer runs REV, DWN | [12 empty] | Carousel 6 | [8 empty] | Carousel 3
Transfer to N90T_zone3 runs LEFT, UP
CLICK PLC - Carousel Transfer & Conveyor:
|  |  | N90T_zone3 to transfer runs REV, DWN | [12 empty] | Carousel 7 | [8 empty] | Carousel 2
|  |  | PLC2 output Y201 | [10 empty] | z1â | [5 empty] | PP2 ESW04 Nodes 86-89 | ESW | á | [8 empty] | âz1
|  |  | Output: Carousel Transfer run REV | [10 empty] | 88T | z3à | CT5 | Zone Prior |  |  |  | ß | CT2 | à |  |  |  | Zone Prior |  | CT7 | ßz3 | 89T
|  |  | Condition the run for zone prior to the transfer | [10 empty] | z2á | [7 empty] | á | [8 empty] | áz2
|  |  | with a request to send from N90T_zone3. | [12 empty] | Carousel 8 | [8 empty] | Carousel 1
Request will block zone prior from going to transfer
|  |  | Condition zone 3 with: | [8 empty] | 90° |  |  | à | [5 empty] | à | CT1 | ß
|  |  | carousel transfer readyforpackage | [8 empty] | á
91T | = | T/3 | Transfer alternates between zone 1 and zone 2 |  |  | Turck | 192.168.3.91
|  |  | Zone 1 to transfer runs FWD, DWN | [7 empty] | ` | 87
Zone 2 to transfer runs REV, DWN
Transfer to N91T_zone3 runs RIGHT, UP
|  |  | CLICK PLC - Carousel Transfer & Conveyor: | [8 empty] | á
N91T_zone3 to transfer runs REV
|  |  | PLC2 output Y203 | [8 empty] | 86
Output: Carousel Transfer run REV
Condition the run for zone prior to the transfer
with a request to send from N91T_zone3.
Request will block zone prior from going to transfer
Condition zone 3 with:
|  |  | carousel transfer readyforpackage | [5 empty] | Notes
92 | = | 5 |  |  |  | Turck | 192.168.3.92
93T | = | T | N92_zone5 to transfer runs FWD, DWN |  |  | Turck | 192.168.3.93 |  | Carousel PLC Pragramming
|  |  | Transfer to N94_zone1 runs LEFT, UP | [5 empty] | PLC swap | 2 of the carousel conveyor Click PLCs will need to be swapped to new ones with ethernet ports
94 | = | 8 |  |  |  | Turck | 192.168.3.94 |  | Carousel Conveyor Transfer logic | Empty tote flow
95T | = | T/1 | N94_zone8 to transfer runs FWD, UP |  |  | Turck | 192.168.3.95 |  |  | Carousel transfer 2 (CT2) - Fill left and Right respective zones with totes first
|  |  | Transfer to N96T runs Right, DWN | [6 empty] | Carousel transfer 3 (CT3) - Fill left and right respective zones with totes first
|  |  | 1 passthrough zone after transfer (no sensor) | [5 empty] | Node 88T | Zone 3 will send totes to the carousel conveyor (CT5)
|  |  | "Zone" 1 output turns on in parallel with RunRightAuto | [6 empty] | Carousel plc will need reprogramming (Bottom PLC)
96T | = | 1 | 1 zone after transfer |  |  |  | 192.168.3.96 |  | Node 89T | Transfer will send totes to the carousel conveyor (CT7)
|  |  | N95T to transfer runs FWD, DWN | [6 empty] | Carousel plc will need reprogramming (Bottom PLC)
|  |  | Transfer to N97_zone1 runs RIGHT, UP | [5 empty] | Node 90T | Zone 3 will send totes to the carousel conveyor (CT4)
|  |  | If N97_zone1 is empty fill first. | [6 empty] | Carousel plc will need reprogramming (Bottom PLC)
|  |  | Transfer to N96T_zone1 runs FWD, DWN | [5 empty] | Node 91T | Zone 3 will send totes to the carousel conveyor (CT6)
97 | = | 7 |  |  |  |  | 192.168.3.97 |  |  | Carousel plc will need reprogramming (Bottom PLC)
98T | = | T/1 | N96T_zone1 to transfer runs FWD, DWN |  |  | Turck | 192.168.3.98 |  | Node 92 | Zone 1 will receive totes from the carousel conveyor (CT3)
|  |  | N99_zone6 to transfer runs LEFT, UP | [6 empty] | Carousel plc will need reprogramming (Bottom PLC)
|  |  | If N99_zone6 sensor is on take from there first. | [5 empty] | CT4 | Middle PLC - Output Y201
1 passthrough zone after transfer (no sensor)
|  |  | Passthrough zone 1 output turns on in parallel with forwardauto2 | [5 empty] | CT5 | Middle PLC - Output Y202
Transfer to N100T runs FWD, DWN
99 | = | 6 |  |  |  | Turck | 192.168.3.99 |  | CT6 | Middle PLC - Output Y203
100T | = | T/1 | N98T to the transfer runs FWD, DWN |  |  | Turck | 192.168.3.100
|  |  | N102_zone6 to the transfer runs LEFT, UP | [5 empty] | CT7 | Middle PLC - Output Y204
If N102_zone7 sensor is on take from there first
1 passthrough zone after transfer (no sensor)
Passthrough zone 1 output turns on in parallel with forwardauto2
Transfer to N103T runs FWD, DWN
101T | = | T/2 | 2 zones before the transfer |  |  | Turck | 192.168.3.101
|  |  | N101T_zone2 to transfer runs FWD, DWN |  |  | Turck
Transfer to N102_zone1 runs LEFT, UP
102 | = | 7 |  |  |  |  | 192.168.3.102
103T | = | T/1 | 1 zone after transfer |  |  | Turck | 192.168.3.103
N100T to transfer runs FWD, UP
Transfer to N103T_zone1 runs RIGHT, DOWN
104 | = | 8 |  |  |  | Turck | 192.168.3.104
105 | = | 8 |  |  |  | Turck | 192.168.3.105
106T | = | A, 1 zn, B | One zone between transfers |  |  | Turck | 192.168.3.106
Transfer N106TA
N105_zone8 to transfer runs FWD, UP
Transfer to N106T_zone1 runs Right, DWN
Transfer N106TB
N106T_zone1 to transfer runs FWD, DWN
Transfer to N107_zone1 runs RIGHT, UP
107 | = | 7 |  |  |  | Turck | 192.168.3.107
108 | = | 8 |  |  |  | Turck | 192.168.3.108
109 | = | 3 |  |  |  | Turck | 192.168.3.109
Is working
Needs to be tested or worked on
Needs Code Work PLC
Needs Code Work ENET
ENET Code complete offline. Need to download once Node is communicating
No Comms to Node Yet
Nodes |  | 66
Transfers |  | 41
Zones |  | 291

## ENet3_Folding>Ship Product Line
|  | S |  |  | Empty Tote Conveyor
| ↖ | ↑ | ↗ |  | Product Conveyor
E | ← |  | → | W | Sloped Conveyor |  |  |  | FOLDING, CAROUSEL, & SHIPPING PRODUCT LINE
| ↙ | ↓ | ↘ |  | Carousel Conveyor interlock
|  | N |  |  | Existing Conveyor
Turck I/O Module
Node / Zones | [7 empty] | IP Address
Auto Folding
45 | = | 8 |  |  |  | Turck |  | 192.168.3.45 | [20 empty] | ß | [8 empty] | 90°
46 | = | 3 |  |  |  | Turck |  | 192.168.3.46
47 | = | 7 |  |  |  | Turck |  | 192.168.3.47
48T | = | A & B, 1 ZN | 1 zone after transfer N48TB |  |  | Turck |  | 192.168.3.48 | [29 empty] | á
|  |  | Transfer A | [34 empty] | DN2_56T
|  |  | N47_zone7 to Transfer runs FWD, UP | [34 empty] | â
|  |  | Transfer to N48TB runs Left, DWN | [13 empty] | S04 â
|  |  | Transfer B | [11 empty] | 75T | ß | 51T |  | ß | 50 | [9 empty] | ß | 49 |  |  | 48TB
|  |  | N48TA to transfer Runs FWD, DWN | [12 empty] | S05à | 52T |  | à | 53 |  | Tags |  | 54T | ESW |  |  |  | à |  | 47 |  |  | 48TA
|  |  | Transfer to N48_zone1 runs Left, UP | [11 empty] | â |  | â | [7 empty] | PP1 ESW 03 Nodes 47-51, 53-54
49 | = | 8 |  |  |  | Turck |  | 192.168.3.49 | [7 empty] | S06à | 55T | à | 56 | Carousel Sort |  |  |  | â
50 | = | 8 |  |  |  | Turck |  | 192.168.3.50 | [5 empty] | PP1 ESW07 Nodes 75-79 | [15 empty] | Manual Folding
51T | = | T | Node 50 zone 8 to transfer runs FWD, DWN |  |  | Turck |  | 192.168.3.51 | [5 empty] | ESW |  |  | â
|  |  | Scanner04 located at 51T - three possibilities | [11 empty] | 76 | [15 empty] | 46 |  |  |  | 45 |  |  | 90°
|  |  | 1. "Ready To Ship Line" - N51T to N75T runs FWD, DWN | [13 empty] | 57TA |  | ß | 58 | [15 empty] | PP1 ESW 01 Nodes 45-46 | ESW
|  |  | 2. "Other sorts" - N51T to N52T runs LEFT, UP | [13 empty] | â | ESW | PP1 ESW05 Nodes 52, 55-60
|  |  | 3. "No reads"- N75T | [13 empty] | 57TB | à |  |  |  | 59 |  | à |  | 60T
52T | = | T/1 | N51T to transfer runs FWD, DWN |  |  |  |  | 192.168.3.52
|  |  | Scanner05 located at N52T - three possibilities | [12 empty] | â
1. "Tags" - N52T to N53_zone1 runs LEFT, UP
2. "Other sorts" - N52T to N55T runs FWD, DWN
|  |  | 3. "No reads" - N55T | [22 empty] | â
1 passthrough zone after transfer (no sensor)
|  |  | Passthrough zone 1 output turns on in parallel with forwardauto2 | [16 empty] | Carousel 5 | [5 empty] | 61TA | 61TB |  |  | Carousel 4
53 | = | 7 |  |  |  | Turck |  | 192.168.3.53 | [7 empty] | 77 |  | z2á | [8 empty] | â | S09 | [7 empty] | áz2
54T | = | T/2 | 2 zones after transfer, totes end at N54T_zone2 |  |  | Turck |  | 192.168.3.54 | [8 empty] | S10à | 64T |  |  |  |  | 63 |  |  | ß | 62T | à |  |  | 65 |  |  |  | z1 | 66T | ßS11
|  |  | N53_zone7 to transfer runs FWD, UP | [14 empty] | z1â | [6 empty] | PP2 ESW01 Nodes 61-66 | ESW | â | [8 empty] | âz3
|  |  | Transfer to N54T_zone1 runs Right, DWN | [16 empty] | Carousel 6 | [9 empty] | Carousel 3
55T | = | T/2 | 2 zones after transfer |  |  | Turck |  | 192.168.3.55
N52T to to transfer runs FWD, DWN
|  |  | Scanner06 on transfer - three possibilities | [16 empty] | Carousel 7 | [9 empty] | Carousel 2
|  |  | 1. "Carousel sort" - N55T to N56_zone1 runs LEFT, UP | [14 empty] | z2á | [6 empty] | PP2 ESW03 Nodes 67-71 | ESW | â | S12 | [6 empty] | áz1
|  |  | 2. "Other sorts" - N55T to N55T_zone1 runs FWD, DWN | [13 empty] | S13à | 69T |  |  |  |  | 68 |  |  | ß | 67T | à |  |  | 70 |  |  |  | 71T | ßS14
|  |  | 3. "No reads" - N56T_zone1 | [14 empty] | z1â | [6 empty] | ESW05 Nodes 72-74 | ESW | â | [7 empty] | âz2
56 | = | 6 |  |  |  | Turck |  | 192.168.3.56 | [11 empty] | Carousel 8 | [9 empty] | Carousel 1
57T | = | A, 1 zn, B | 1 zone between transfers |  |  | Turck | ü | 192.168.3.57 | [7 empty] | 78 | [10 empty] | â
|  |  | Transfer 57TA | [17 empty] | 73 |  |  |  |  | ß | 72T | à |  |  | 74 | [5 empty] | `
|  |  | N55T_zone2 to transfer runs FWD, DWN | [12 empty] | â
N58_zone7 to transfer runs LEFT, UP
|  |  | Transfer to N57T_zone1 runs FWD, DWN | [16 empty] | 111 | zone 7 |  |  | 111 | zone 5 |  |  | 111 | zone 3 |  |  | 111 | zone 1
|  |  | Transfer 57TB | [16 empty] | â | zone 8 |  |  | â | zone 6 |  |  | â | zone 4 |  |  | â | zone 2
|  |  | N57_zone1 to transfer runs FWD, DWN | [16 empty] | 80TA |  | ß |  | 114T |  | ß |  | 113T |  | ß |  | 112T
|  |  | Transfer to N59_zone1 runs LEFT, UP | [16 empty] | â
58 | = | 7 |  |  |  | Turck | ü | 192.168.3.58 | [11 empty] | 80TB |  | 81 | à |  |  | 82TA | 82TB | 83TA | 83TB | 84TA | 84TB | 85T | No Reads
59 | = | 8 |  |  |  | Turck |  | 192.168.3.59 | [7 empty] | 79 | [8 empty] | á S15 | â | â | â | â | â | â | â
60T | = | T/4 | 1 zone before and 3 zones after the transfer |  |  | Turck |  | 192.168.3.60 | [7 empty] | â | [9 empty] | Lane 1 | Lane 2 | Lane 3 | Lane 4 | Lane 5 | Lane 6 | Lane 7
N60T_zone1 to transfer runs FWD, DWN
|  |  | Transfer to N60T_zone2 runs LEFT, UP | [23 empty] | O | U | B | M | A | E
61T | = | 1zn, A, B | 1 zone before the transfer |  |  | Turck |  | 192.168.3.61
Transfer 61TA
N61T_zone1 to transfer runs FWD, UP
Transfer to N61TB runs LEFT, DWN
Transfer 61TB
N61TA to transfer runs FWD, UP
N61TB to N62T_zone1 runs Right, DWN
62T | = | T/3 | 1 zone before, 2 zones after |  |  | Turck |  | 192.168.3.62
N62T_zone1 to transfer runs FWD, DWN
Scanner09 has four possibilities.
2. Carousel 5 or 6 - N63_zone1 runs RIGHT, UP
To make band motors run Reverse you need to turn on outputs LEFT and RIGHT
1. Carousel 3 or 4 - N65_zone1 runs LEFT, UP
3. Other Sorts - N62T_zone2 runs FWD, DWN
4. No reads - N62T_zone2
63 | = | 8 |  |  |  | Turck |  | 192.168.3.63
64T | = | T/2 | N63_zone8 to transfer runs FWD, UP |  |  | Turck |  | 192.168.3.64
Scanner10 has three possibilities
1. Carousel 6 - Transfer to N64T_zone1 runs LEFT, DWN
2. Carousel 5 - Transfer to N64T_zone2 runs RIGHT, DOWN
3. No reads - N64T_zone1
65 | = | 8 |  |  |  | Turck |  | 192.168.3.65
66T | = | T/3 | N66_zone1 to transfer runs FWD, UP |  |  | Turck |  | 192.168.3.66
Scanner11 has three possibilities
|  |  | 1. Carousel 4 - Transfer to N66T_zone2 LEFT, DWN |  |  | Turck
2. Carousel 3 - Transfer to N66T_zone3 RIGHT, DWN
3. No reads - N66T_zone2
67T | = | T/4 | 4 zones before the transfer |  |  | Turck |  | 192.168.3.67
N67T_zone4 to transfer runs FWD, DWN
Scanner12 has three possibilities
1. Carousel 1 or 2 - Transfer to N70_zone1 runs LEFT, UP
2. Carousel 5 or 6 - Transfer to N68_zone1 runs RIGHT, UP
To make band motors run Reverse you need to turn on outputs LEFT and RIGHT
3. Manual Pack - Transfer to N72T_zone1 runs FWD, DWN
4. No reads - Node 72T
68 | = | 8 |  |  |  | Turck |  | 192.168.3.68
69T | = | T/2 | N68_zone8 to transfer runs FWD, UP |  |  | Turck |  | 192.168.3.69
Scanner13 has three possibilities
1. Carousel 8 - Transfer to N69T_zone1 runs LEFT, DWN
2. Carousel 7 - Transfer to N69T_zone2 runs RIGHT, DWN
3. No reads - N69T_zone1
70 | = | 7 |  |  |  | Turck |  | 192.168.3.70
71T | = | T/2 | N70_zone7 to transfer runs FWD, UP |  |  | Turck |  | 192.168.3.71
Scanner14 has three possibilities
1. Carousel 1 - Transfer to N71T_zone1 LEFT, DWN
2. Carousel 2 - Transfer to N71T_zone2 RIGHT, DWN
3. No reads - N71T_zone1
72T | = | T/3 | 3 zones before the trasnsfer |  |  | Turck |  | 192.168.3.72
N72T_zone3 to transfer runs FWD, DWN
Transfer to N73_zone1 runs Right, UP
To make band motors run Reverse you need to turn on outputs LEFT and RIGHT
If N73_zone1 is empty send to that first
Transfer to N74_zone1 runs LEFT, UP
73 | = | 7 |  |  |  | Turck |  | 192.168.3.73
74 | = | 6 |  |  |  | Turck |  | 192.168.3.74
75T | = | T/2 | 2 zones after transfer |  |  | Turck |  | 192.168.3.75
Node 51T to transfer runs FWD, DWN
Transfer to N75T_zone1 runs LEFT, UP
76 | = | 8 |  |  |  | Turck |  | 192.168.3.76
77 | = | 8 |  |  |  | Turck |  | 192.168.3.77
78 | = | 8 |  |  |  | Turck |  | 192.168.3.78
79 | = | 7 |  |  |  | Turck |  | 192.168.3.79
111 | = | 8 | Zone 2 runs FWD onto N112 Transfer if its part present is clear and not running FWD |  |  | Turck |  | 192.168.3.111
Zone 4 runs FWD onto N113 Transfer if its part present is clear and not running FWD
Zone 6 runs FWD onto N114 Transfer if its part present is clear and not running FWD
Zone 8 runs FWD onto N80 Transfer A if its part present is clear and not running FWD
112T | = | T/3 | 3 zones after the Transfer |  |  | Turck |  | 192.168.3.112
N111_zone2 to Transfer runs LEFT, UP
Transfer to N112_zone1 runs FWD, DWN
If N111_zone4 part is present hold N112_zone3
113T | = | T/3 | 3 zones after the Transfer |  |  | Turck |  | 192.168.3.113
N111_zone4 to Transfer runs LEFT, UP
Transfer to N113_zone1 runs FWD, DWN
If N111_zone6 part is present hold N113_zone3
114T | = | T/3 | 3 zones after the Transfer |  |  | Turck |  | 192.168.3.114
N111_zone6 to Transfer runs LEFT, UP
Transfer to N114_zone1 runs FWD, DWN
If N111_zone8 part is present hold N114_zone3
80T | = | A & B | Transfer 80TA |  |  | Turck |  | 192.168.3.80
N114_zone3 to Transfer runs FWD, DWN
N111_zone8 to Transfer runs LEFT, UP
Transfer to 80TB runs LEFT, UP
Transfer 80TB
80TA to Transfer runs FWD, UP
Transfer to N81_zone1 runs LEFT, DWN
81 | = | 7 | Sorting scanner located at zone 7 |  |  | Turck |  | 192.168.3.81
82T | = | A & B |  |  |  | Turck |  | 192.168.3.82
Transfer 82TA
N82T_zone1 to the 82TA Runs FDW, DWN
Transfer to sort " " runs RIGHT, UP
Transfer to N82TB runs FWD, DWN
"No reads" to N82TB
Transfer 82TB
N82TA to transfer runs FWD, DWN
Transfer to sort "U" runs RIGHT, UP
Transfer to N82TA runs FWD, DWN
"No reads" to N83TA
83T | = | A & B | Transfer N83TA |  |  | Turck |  | 192.168.3.83
|  |  | N82TB to transfer runs FWD, DWN | [5 empty] | Nodes 82-85 Flow wrap concept: QR scanner locted at Node 81_zone8 Sorting Priority 82TA "" 82TB "U" 83TA "O" 83TB "M" 84TA "B" 84TB "E" 85T "A" OR "No reads"
Transfer to sort "O" runs RIGHT, UP
Transfer to N83TB runs FWD, DWN
|  |  | "No reads" to N83TB | [6 empty] | Sorting Priority
|  |  | Transfer 83TB | [6 empty] | 82TA | " " | = | "1"
|  |  | N83TA to transfer runs FWD, DWN | [6 empty] | 82TB | "U" | = | "2"
|  |  | Transfer to sort "M" runs RIGHT, UP | [6 empty] | 83TA | "O" | = | "3"
|  |  | Transfer to N84TA runs FWD, DWN | [6 empty] | 83TB | "M" | = | "4"
|  |  | "No reads" to N84TA | [6 empty] | 84TA | "B" | = | "5"
84T | = | A & B | Transfer 84TA |  |  | Turck |  | 192.168.3.84 |  | 84TB | "E" | = | "6"
|  |  | N83TB to transfer runs FWD, DWN | [6 empty] | 85T | "A" | = | "7"
|  |  | Transfer to sort "B" runs RIGHT, UP | [6 empty] | 85T | "No Reads" (Run FWD) | = | "8"
Transfer to N84TB runs FWD, DWN
"No reads" to N84TB
Transfer 84TB
N84TA to transfer runs FWD, DWN
Transfer to sort "E" runs RIGHT, UP
Transfer to N85TA runs FWD, DWN
"No reads" to N85TA
85T | = | T | Transfer 85T |  |  | Turck |  | 192.168.3.85
N84TB to transfer runs FWD, DWN
Transfer to sort "A" runs RIGHT, UP
Transfer to "No Reads" runs FWD, DWN off the end
Is working
Needs to be tested or worked on
Needs Code Work PLC
Needs Code Work ENET
ENET Code complete offline. Need to download once Node is communicating
No Comms to Node Yet
Nodes |  | 41
Total: |  | 66
Transfers |  | 41
Zones |  | 291

## ENet3_Folding Comms
`
Folding Room - Power Panel
| Totes with Product | [26 empty] | Empty Totes
[17 empty] | ß | [8 empty] | 90° | [14 empty] | à | [8 empty] | 90°
á
T
[26 empty] | â | [23 empty] | â
[5 empty] | S01 â | [24 empty] | 103T |  |  |  | 104 | à | [6 empty] | à | 105 |  |  |  | 106TA |  |  | DN2_56T
|  |  | 75T | ß | 51T |  | ß | 50 | [9 empty] | ß | 49 |  |  | 48TB | [7 empty] | á | [19 empty] | á
|  |  |  | S02à | 52T |  | à | 53 |  |  |  | 54T | ESW |  |  |  | à |  | 47 |  |  | 48TA | [7 empty] | 100T |  |  |  | 102 | ß | 101T | [10 empty] | â
|  |  | â |  | â | [7 empty] | PP1 ESW 03 Nodes 47-51, 53-54 | [16 empty] | á | [6 empty] | ESW |  |  |  |  | ß | 107 |  |  |  | 106TB
|  |  |  | S03à | 55T |  | à | 56 | c sort |  |  | â | [17 empty] | 98T | ß | 99 |  |  |  | á | PP1 ESW 04 Nodes 101-107
|  | PP1 ESW07 Nodes 75-79 | [15 empty] | Manual Folding | [23 empty] | Manual Folding
|  | ESW |  |  | â | [24 empty] | á | [19 empty] | á
|  |  | 76 | [15 empty] | 46 |  |  |  | 45 |  |  | 90° |  |  |  | 96T | à | 97 | [10 empty] | 108 |  | à |  |  |  | 109 | 90°
[5 empty] | 57TA |  | ß | 58 | [15 empty] | PP1 ESW 01 Nodes 45-46 | ESW | [22 empty] | PP1 ESW 02 Nodes 108-109 | ESW
[5 empty] | â | ESW | PP1 ESW05 Nodes 52, 55-60 | [22 empty] | á
[5 empty] | 57TB | à |  |  |  | 59 |  |  | à | 60T | [16 empty] | ESW | PP1 ESW06 Nodes 94-100
[30 empty] | 95T | ß |  |  |  | 94 |  |  |  | 93T
|  |  |  | â | [34 empty] | á
92
â
[8 empty] | Carousel 5 | [5 empty] | 61TA | 61TB |  |  | Carousel 4 | [14 empty] | Carousel 5 | [8 empty] | Carousel 4
|  |  |  | 77 |  | z2á | [8 empty] | â | S04 | [7 empty] | áz1 | [6 empty] | z1â | [7 empty] | á | [8 empty] | âz1
[5 empty] | S05à | 64T | 1d |  |  |  | 63 |  |  | ß | 62T | à |  |  | 65 |  |  |  | 1d | 66T | ßS06 | [5 empty] | 90T | z3à | T | Zone Prior |  |  |  | ß | T | à |  |  |  | Zone Prior |  | T | ßz3 | 91T
[6 empty] | z1â | [6 empty] | PP2 ESW01 Nodes 61-66 | ESW | â | [8 empty] | âz2 | [6 empty] | z2á | [5 empty] | PP2 ESW02 Nodes 90-93 | ESW | á | [8 empty] | áz2
[8 empty] | Carousel 6 | [9 empty] | Carousel 3 | [14 empty] | Carousel 6 | [8 empty] | Carousel 3
[8 empty] | Carousel 7 | [9 empty] | Carousel 2 | [14 empty] | Carousel 7 | [8 empty] | Carousel 2
[6 empty] | z2á | [6 empty] | PP2 ESW03 Nodes 67-71 | ESW | â | S07 | [7 empty] | áz1 | [6 empty] | z1â | [5 empty] | PP2 ESW04 Nodes 86-89 | ESW | á | [8 empty] | âz1
[5 empty] | S08à | 69T | 1d |  |  |  | 68 |  |  | ß | 67T | à |  |  | 70 |  |  |  | 1d | 71T | ßS09 | [5 empty] | 88T | z3à | T | Zone Prior |  |  |  | ß | T | à |  |  |  | Zone Prior |  | T | ßz3 | 89T
[6 empty] | z1â | [6 empty] | PP2 ESW05 Nodes 72-74 | ESW | â | [8 empty] | âz2 | [6 empty] | z2á | [7 empty] | á | [8 empty] | áz2
[8 empty] | Carousel 8 | [9 empty] | Carousel 1 | [14 empty] | Carousel 8 | [8 empty] | Carousel 1
|  |  |  | 78 | [10 empty] | â
[9 empty] | 73 |  |  |  |  | ß | 72T |  |  |  | 74 | [5 empty] | ` |  |  |  | 90° |  |  | à | [5 empty] | à | CT1 | ß
|  |  |  | â | [24 empty] | á
[8 empty] | 111 | zone 7 |  |  | 111 | zone 5 |  |  | 111 | zone 3 |  |  | 111 | zone 1 | [7 empty] | 87
[8 empty] | â | zone 8 |  |  | â | zone 6 |  |  | â | zone 4 |  |  | â | zone 2
[8 empty] | 80TA |  | ß |  | 114T |  | ß |  | 113T |  | ß |  | 112T
[8 empty] | â |  |  | ESW | PP2 ESW06 Nodes 111-114, 81 & ESW07 Nodes 82-85 | [16 empty] | á
[8 empty] | 80TB |  | 81 | à |  |  | 82TA | 82TB | 83TA | 83TB | 84TA | 84TB | 85T | No Reads
|  |  |  | 79 | [8 empty] | á S15 | â | â | â | â | â | â | â | [8 empty] | 86
|  |  |  | â | [9 empty] | Lane 1 | Lane 2 | Lane 3 | Lane 4 | Lane 5 | Lane 6 | Lane 7
[15 empty] | O | U | B | M | A | E
***Switch & power for switch circuit located in Power Panel 1***
Conveyor Main Switch (Managed) | [13 empty] | Lane 4: Folding Room (Managed) | [6 empty] | Folding - ESW01 | [10 empty] | Folding - ESW02
| Port |  | VLAN | [10 empty] | Lane 5: Port; Lane 7: Switch Connected | [7 empty] | Port | Nodes | [9 empty] | Port |  | Nodes
SFP Ports | 1 | [12 empty] | Lane 4: 10/100Base-TX Port; Lane 5: 1; Lane 7: From Main Switch - Port 4 | [6 empty] | 10/100Base-TX Port | 1 | Folding Room Switch - Port 02 | [8 empty] | 10/100Base-TX Port | 1 |  | Folding Room Switch - Port 03
| 2 | [12 empty] | Lane 5: 2; Lane 7: ESW01 (5 Port) - Nodes 45-46 | [7 empty] | 2 | Node 45 | [9 empty] | 2 |  | Node 108
| 3 | [12 empty] | Lane 5: 3; Lane 7: ESW02 (5 Port) - Nodes 108-109 | [7 empty] | 3 | Node 46 | [9 empty] | 3 |  | Node 109
| 4 | [12 empty] | Lane 5: 4; Lane 7: ESW03 (8 Port) - Nodes 47-53T | [7 empty] | 4 | [10 empty] | 4
10/100Base-TX Port | 1 |  | From MCP | [10 empty] | Lane 5: 5; Lane 7: ESW04 (8 Port) - Nodes 100T-106 | [7 empty] | 5 | [10 empty] | 5
| 2 |  | Picking and Sticking | [10 empty] | Lane 5: 6; Lane 7: ESW05 (8 Port) - Nodes 54T-60T
| 3 |  | Floor 2 | [10 empty] | Lane 5: 7; Lane 7: ESW06 (8 Port) - Nodes 93-99T
| 4 |  | Folding | [10 empty] | Lane 5: 8; Lane 7: ESW07 (8 Port) - Nodes 74T-79
| 5 |  | Carousel & Shipping | [23 empty] | Folding - ESW03 | [10 empty] | Folding - ESW04
| 6 | [26 empty] | Port | Nodes | [9 empty] | Port |  | Nodes
| 7 | [25 empty] | 10/100Base-TX Port | 1 | Folding Room Switch - Port 04 | [8 empty] | 10/100Base-TX Port | 1 |  | Folding Room Switch - Port 05
| 8 | [26 empty] | 2 | Node 47 | [9 empty] | 2 |  | Node 100T
| 9 | [26 empty] | 3 | Node 48T | [9 empty] | 3 |  | Node 101
| 10 | [26 empty] | 4 | Node 49 | [9 empty] | 4 |  | Node 102T
| 11 | [26 empty] | 5 | Node 50 | [9 empty] | 5 |  | Node 103
| 12 | [26 empty] | 6 | Node 51T | [9 empty] | 6 |  | Node 104
| 13 | [26 empty] | 7 | Node 52 | [9 empty] | 7 |  | Node 105T
| 14 | [26 empty] | 8 | Node 53T | [9 empty] | 8 |  | Node 106
15
16
[27 empty] | Folding - ESW05 | [10 empty] | Folding - ESW06
[28 empty] | Port | Nodes | [9 empty] | Port |  | Nodes
[27 empty] | 10/100Base-TX Port | 1 | Folding Room Switch - Port 06 | [8 empty] | 10/100Base-TX Port | 1 |  | Folding Room Switch - Port 07
[28 empty] | 2 | Node 54T | [9 empty] | 2 |  | Node 93
[28 empty] | 3 | Node 55 | [9 empty] | 3 |  | Node 94T
[28 empty] | 4 | Node 56T | [9 empty] | 4 |  | Node 95T
[28 empty] | 5 | Node 57 | [9 empty] | 5 |  | Node 96
[28 empty] | 6 | Node 58 | [9 empty] | 6 |  | Node 97T
[28 empty] | 7 | Node 59T | [9 empty] | 7 |  | Node 98
[28 empty] | 8 | Node 60T | [9 empty] | 8 |  | Node 99T
Folding - ESW07
[28 empty] | Port | Nodes
[27 empty] | 10/100Base-TX Port | 1 | Folding Room Switch - Port 08
[28 empty] | 2 | Node 74T
[28 empty] | 3 | Node 75
[28 empty] | 4 | Node 76
[28 empty] | 5 | Node 77
[28 empty] | 6 | Node 78
[28 empty] | 7 | Node 79
8

## ENet3_Carousel & Shipping Comms
`
Carousel & Shipping - Power Panel
| Totes with Product | [26 empty] | Empty Totes
[17 empty] | ß | [8 empty] | 90° | [14 empty] | à | [8 empty] | 90°
á
T
[26 empty] | â | [23 empty] | â
[5 empty] | S01 â | [24 empty] | 103T |  |  |  | 104 | à | [6 empty] | à | 105 |  |  |  | 106TA |  |  | DN2_56T
|  |  | 75T | ß | 51T |  | ß | 50 | [9 empty] | ß | 49 |  |  | 48TB | [7 empty] | á | [19 empty] | á
|  |  |  | S02à | 52T |  | à | 53 |  |  |  | 54T | ESW |  |  |  | à |  | 47 |  |  | 48TA | [7 empty] | 100T |  |  |  | 102 | ß | 101T | [10 empty] | â
|  |  | â |  | â | [7 empty] | PP1 ESW 03 Nodes 47-51, 53-54 | [16 empty] | á | [6 empty] | ESW |  |  |  |  | ß | 107 |  |  |  | 106TB
|  |  |  | S03à | 55T |  | à | 56 | c sort |  |  | â | [17 empty] | 98T | ß | 99 |  |  |  | á | PP1 ESW 04 Nodes 101-107
|  | PP1 ESW07 Nodes 75-79 | [15 empty] | Manual Folding | [23 empty] | Manual Folding
|  | ESW |  |  | â | [24 empty] | á | [19 empty] | á
|  |  | 76 | [15 empty] | 46 |  |  |  | 45 |  |  | 90° |  |  |  | 96T | à | 97 | [10 empty] | 108 |  | à |  |  |  | 109 | 90°
[5 empty] | 57TA |  | ß | 58 | [15 empty] | PP1 ESW 01 Nodes 45-46 | ESW | [22 empty] | PP1 ESW 02 Nodes 108-109 | ESW
[5 empty] | â | ESW | PP1 ESW05 Nodes 52, 55-60 | [22 empty] | á
[5 empty] | 57TB | à |  |  |  | 59 |  |  | à | 60T | [16 empty] | ESW | PP1 ESW06 Nodes 94-100
[30 empty] | 95T | ß |  |  |  | 94 |  |  |  | 93T
|  |  |  | â | [34 empty] | á
92
â
[8 empty] | Carousel 5 | [5 empty] | 61TA | 61TB |  |  | Carousel 4 | [14 empty] | Carousel 5 | [8 empty] | Carousel 4
|  |  |  | 77 |  | z2á | [8 empty] | â | S04 | [7 empty] | áz1 | [6 empty] | z1â | [7 empty] | á | [8 empty] | âz1
[5 empty] | S05à | 64T | 1d |  |  |  | 63 |  |  | ß | 62T | à |  |  | 65 |  |  |  | 1d | 66T | ßS06 | [5 empty] | 90T | z3à | T | Zone Prior |  |  |  | ß | T | à |  |  |  | Zone Prior |  | T | ßz3 | 91T
[6 empty] | z1â | [6 empty] | PP2 ESW01 Nodes 61-66 | ESW | â | [8 empty] | âz2 | [6 empty] | z2á | [5 empty] | PP2 ESW02 Nodes 90-93 | ESW | á | [8 empty] | áz2
[8 empty] | Carousel 6 | [9 empty] | Carousel 3 | [14 empty] | Carousel 6 | [8 empty] | Carousel 3
[8 empty] | Carousel 7 | [9 empty] | Carousel 2 | [14 empty] | Carousel 7 | [8 empty] | Carousel 2
[6 empty] | z2á | [6 empty] | PP2 ESW03 Nodes 67-71 | ESW | â | S07 | [7 empty] | áz1 | [6 empty] | z1â | [5 empty] | PP2 ESW04 Nodes 86-89 | ESW | á | [8 empty] | âz1
[5 empty] | S08à | 69T | 1d |  |  |  | 68 |  |  | ß | 67T | à |  |  | 70 |  |  |  | 1d | 71T | ßS09 | [5 empty] | 88T | z3à | T | Zone Prior |  |  |  | ß | T | à |  |  |  | Zone Prior |  | T | ßz3 | 89T
[6 empty] | z1â | [6 empty] | PP2 ESW05 Nodes 72-74 | ESW | â | [8 empty] | âz2 | [6 empty] | z2á | [7 empty] | á | [8 empty] | áz2
[8 empty] | Carousel 8 | [9 empty] | Carousel 1 | [14 empty] | Carousel 8 | [8 empty] | Carousel 1
|  |  |  | 78 | [10 empty] | â
[9 empty] | 73 |  |  |  |  | ß | 72T |  |  |  | 74 | [5 empty] | ` |  |  |  | 90° |  |  | à | [5 empty] | à | CT1 | ß
|  |  |  | â | [24 empty] | á
[8 empty] | 111 | zone 7 |  |  | 111 | zone 5 |  |  | 111 | zone 3 |  |  | 111 | zone 1 | [7 empty] | 87
[8 empty] | â | zone 8 |  |  | â | zone 6 |  |  | â | zone 4 |  |  | â | zone 2
[8 empty] | 80TA |  | ß |  | 114T |  | ß |  | 113T |  | ß |  | 112T
[8 empty] | â |  |  | ESW | PP2 ESW06 Nodes 111-114, 81 & ESW07 Nodes 82-85 | [16 empty] | á
[8 empty] | 80TB |  | 81 | à |  |  | 82TA | 82TB | 83TA | 83TB | 84TA | 84TB | 85T | No Reads
|  |  |  | 79 | [8 empty] | á S15 | â | â | â | â | â | â | â | [8 empty] | 86
|  |  |  | â | [9 empty] | Lane 1 | Lane 2 | Lane 3 | Lane 4 | Lane 5 | Lane 6 | Lane 7
[15 empty] | O | U | B | M | A | E
***Switch & power for switch circuit located in Power Panel 2***
Conveyor Main Switch (Managed) | [13 empty] | Lane 4: Carousel & Shipping Room (Managed) | [6 empty] | Carousel & Shipping - ESW01 | [12 empty] | Carousel & Shipping - ESW02
| Port |  | VLAN | [10 empty] | Lane 5: Port; Lane 7: Switch Connected | [7 empty] | Port | Nodes | [11 empty] | Port |  | Nodes
SFP Ports | 1 | [12 empty] | Lane 4: 10/100Base-TX Port; Lane 5: 1; Lane 7: From Main Switch - Port 5 | [6 empty] | 10/100Base-TX Port | 1 | Carousel & Shipping Room Switch - Port 02 | [10 empty] | 10/100Base-TX Port | 1 |  | Carousel & Shipping Room Switch - Port 03
| 2 | [12 empty] | Lane 5: 2; Lane 7: ESW01 (8 Port) - Nodes 61T-66T | [7 empty] | 2 | Node 61T | [11 empty] | 2 |  | Node 89T
| 3 | [12 empty] | Lane 5: 3; Lane 7: ESW02 (8 Port) - Nodes 89T-92 | [7 empty] | 3 | Node 62 | [11 empty] | 3 |  | Node 90T
| 4 | [12 empty] | Lane 5: 4; Lane 7: ESW03 (8 Port) - Nodes 67-73 | [7 empty] | 4 | Node 63T | [11 empty] | 4 |  | Node 91
10/100Base-TX Port | 1 |  | From MCP | [10 empty] | Lane 5: 5; Lane 7: ESW04 (8 Port) - Nodes 85-88T | [7 empty] | 5 | Node 64 | [11 empty] | 5 |  | Node 92T
| 2 |  | Picking and Sticking | [10 empty] | Lane 5: 6; Lane 7: ESW05 (8 Port) - Nodes 67-73 | [7 empty] | 6 | Node 65T
| 3 |  | Floor 2 | [10 empty] | Lane 5: 7; Lane 7: ESW06 (8 Port) - Nodes 79-85 | [7 empty] | 7 | Node 66T
| 4 |  | Folding | [10 empty] | Lane 5: 8 | [7 empty] | 8
| 5 |  | Carousel & Shipping
6
7
| 8 | [25 empty] | Carousel & Shipping - ESW03 | [12 empty] | Carousel & Shipping - ESW04
| 9 | [26 empty] | Port | Nodes | [11 empty] | Port |  | Nodes
| 10 | [25 empty] | 10/100Base-TX Port | 1 | Carousel & Shipping Room Switch - Port 04 | [10 empty] | 10/100Base-TX Port | 1 |  | Carousel & Shipping Room Switch - Port 05
| 11 | [26 empty] | 2 | Node 67 | [11 empty] | 2 |  | Node 85
| 12 | [26 empty] | 3 | Node 68T | [11 empty] | 3 |  | Node 86
| 13 | [26 empty] | 4 | Node 69 | [11 empty] | 4 |  | Node 87T
| 14 | [26 empty] | 5 | Node 70T | [11 empty] | 5 |  | Node 88T
| 15 | [26 empty] | 6 | Node 71
| 16 | [26 empty] | 7 | Node 72
[28 empty] | 8 | Node 73
[27 empty] | Carousel & Shipping - ESW05 | [12 empty] | Carousel & Shipping - ESW06
[28 empty] | Port | Nodes | [11 empty] | Port |  | Nodes
[27 empty] | 10/100Base-TX Port | 1 | Carousel & Shipping Room Switch - Port 06 | [10 empty] | 10/100Base-TX Port | 1 |  | Carousel & Shipping Room Switch - Port 06
[28 empty] | 2 | Node 67 | [11 empty] | 2 |  | Node 67
[28 empty] | 3 | Node 68T | [11 empty] | 3 |  | Node 68T
[28 empty] | 4 | Node 69 | [11 empty] | 4 |  | Node 69
[28 empty] | 5 | Node 70T | [11 empty] | 5 |  | Node 70T
[28 empty] | 6 | Node 71 | [11 empty] | 6 |  | Node 71
[28 empty] | 7 | Node 72 | [11 empty] | 7 |  | Node 72
[28 empty] | 8 | Node 73 | [11 empty] | 8 |  | Node 73

## DNet4
|  | S | [13 empty] | KEY: | [6 empty] | Important Notes
| ↖ | ↑ | ↗ | [12 empty] | LGZ0 = 1st Lift Gate Zone 0 | [6 empty] | Sensor high when gate is down
E | ← |  | → | W | [11 empty] | LGZ5 = 2nd Lift Gate Zone 5 | [6 empty] | Output high based on previous zone and clear zone upstream
| ↙ | ↓ | ↘ | [19 empty] | Lift Gates are pass through zones only. Need to reamain clear when not transfering
N
[14 empty] | 2 | → | LGZ0 | 3 | LGZ5 | → | LGZ0 | 4 | LGZ5 | → | LGZ0 | 5 | LGZ5 | → | LGZ0 | 6 | LGZ5 | → | LGZ0 | 7 | LGZ5 | → | LGZ0 | 8 | LGZ5 | → | LGZ0 | 9 | LGZ5 | → | End of Conveyor
`
↑
(Top Conveyor)
[9 empty] | 30 |  | → | 1 | → | 2 | 33 | → | → | 34 | → | 35 | → | 36 | → | 37 | → | 38 | → | 39 | → | 40 | → | 41 | → | 42 | → | [8 empty] | DN4 / 3rd Floor Ramp Entrance |  |  |  | DN4 / EL C 3rd Floor Entrance Top Conveyor |  |  |  | DN4 / EL C 3rd Floor Entrance Bottom Conveyor
[9 empty] | ↑ | [5 empty] | ↑ |  |  | 44 | 45 | → | 46 | → | 47 | → | 48 | → | 49 | → | 50 | → | 51 | → | 52 | → | 53 | → | → | ↓
[9 empty] | ↑ | [5 empty] | ↑ |  | (Bottom Conveyor) | [20 empty] | ↓
[9 empty] | ↑ | [5 empty] | 32 | [22 empty] | 54 | [5 empty] | 30 | = | 8 |  | 55 | = | 7 | Control Z1, Z6, & Z7 in PLC | 44 | = | 8 | ONLY LAST 4 ZONES WIRED UP
[9 empty] | 30 | (3rd Floor Ramp Entrance) |  |  |  |  | ↑ | [21 empty] | (Dnet 5, 1) | [6 empty] | 1 | = | 7 | Control Z6 & Z7 in PLC | 56 | = | 8 |  | 45 | = | 8
[9 empty] | ↑ | [5 empty] | 56 | [28 empty] | 2 | = | 8 | Control Z1 & Z8 in PLC | 32 | = | 8 |  | 46 | = | 8
[9 empty] | 29 | [5 empty] | ↑ | [28 empty] | 3 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 33 | = | 6 |  | 47 | = | 8
[9 empty] | ↑ | [5 empty] | 55 | [28 empty] | 4 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 34 | = | 8 |  | 48 | = | 8
[9 empty] | 28 | [5 empty] | ↑ | [28 empty] | 5 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 35 | = | 8 |  | 49 | = | 8
[15 empty] | C | Elevator C | [27 empty] | 6 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 36 | = | 8 |  | 50 | = | 8
[44 empty] | 7 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 37 | = | 8 |  | 51 | = | 8
[7 empty] | 16 | ← | 31 | ← | (Dnet 1, 16T) | [32 empty] | 8 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 38 | = | 8 |  | 52 | = | 8
[6 empty] | ↙ | [37 empty] | 9 | = | 10 | LGZ0 is zone 0, LGZ5 is zone 5; PLC CntrlAll | 39 | = | 8 |  | 53 | = | 3
[5 empty] | 17 |  |  |  | 27 | [38 empty] | 40 | = | 8 |  | 54 | = | 8 | Control Z8 in PLC
[5 empty] | ↓ |  |  |  | ↑ | [38 empty] | 41 | = | 8
[5 empty] | 18 |  |  |  | 26 | [38 empty] | 42 | = | 8
[5 empty] | ↓ |  |  |  | ↑
[5 empty] | 19 |  |  |  | 25
[5 empty] | ↓ |  |  |  | ↑
[5 empty] | 20 |  |  |  | 24
[5 empty] | ↓ |  |  |  | ↑ | [34 empty] | DN4 / Rec
[5 empty] | 21 |  |  |  | 23 | [34 empty] | 16 | = | 4
[6 empty] | ↘ |  | ↗ | [35 empty] | 17 | = | 3 | Change from 2 zone to 3 zone
[7 empty] | 22 | [36 empty] | 18 | = | 8
[44 empty] | 19 | = | 8
Is working | [43 empty] | 20 | = | 8
Needs to be tested or worked on | [43 empty] | 21 | = | 8
Needs Code Work PLC | [43 empty] | 22 | = | 3 | Change logic from a 2 zone to a 3 zone
Needs Code Work DNET | [43 empty] | 23 | = | 4 | Change logic from a 2 zone to a 4 zone
DNET Code complete offline. Need to download once Node is communicating | [43 empty] | 24 | = | 4 | Change logic from a 2 zone to a 4 zone
No Comms to Node Yet | [43 empty] | 25 | = | 4 | Change logic from a 2 zone to a 4 zone
[44 empty] | 26 | = | 4 | Change logic from a 2 zone to a 4 zone
[44 empty] | 27 | = | 4 | Change logic from a 2 zone to a 4 zone
[44 empty] | 28 | = | 4 | Change logic from a 2 zone to a 4 zone
[44 empty] | 29 | = | 4 | Change logic from a 2 zone to a 4 zone
[44 empty] | 31 | = | 4 | Control Z1 in PLC
Note on R10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 3 Drives
Note on P12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 3 Drives
Note on L14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1 drive
Note on T14: Jordan gergle: Gap left for alignment
Note on L15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2 drives
Note on T15: Jordan gergle: 3 DRIVES

## DNet 5
|  |  | W | [17 empty] | DN5 / Receiving |  |  |  | DN5 / Delivery To Perfect Pick System |  |  |  | DN5 / Delivery To HAI System
|  | ↖ | ↑ | ↗
| S | ← |  | → | N
|  | ↙ | ↓ | ↘ | [16 empty] | 1 | = | 8 | Control Z1 in PLC | 5 | = | 8 | Control Z1 & Z8 in PLC | 26 | = | 4 | Control Z1 in PLC
|  |  | E | [17 empty] | 2 | = | 8 |  | 6T | = | Up | Has 1 Zone Prior | 27 | = | 6
[21 empty] | 3 | = | 8 | Control Z8 in PLC | 7 | = | 4 | Control Z1 in PLC | 28 | = | 8
[15 empty] | 6T | 7 |  |  | 8 | (Delivery To Perfect Pick System) | 4T | = | Up | Also has 2 zones prior it controls | 8 | = | 6 |  | 29 | = | 8
[11 empty] | Single drive roller → |  |  |  | ↑ | [8 empty] | *need to test when diverting left | 9 | = | 8 |  | 30 | = | 8
[15 empty] | ↑ |  |  |  | ↓ | [5 empty] | 10 | = | 8 |  | 31 | = | 8
[7 empty] | (Receiving) | [7 empty] | 5 |  |  |  | 9 | [5 empty] | 11 | = | 8 |  | 32 | = | 8
[6 empty] | (Dnet 4, 54) | → | 1 | → | 2 | → | 3 | → | → | 4T | 26 | 27 | (Delivery To HAI System) | ↓ | [5 empty] | 12 | = | 8 |  | 33 | = | 8
[19 empty] | 10 | [5 empty] | 13 | = | 8 |  | 34 | = | 8
[13 empty] | HAI SYSTEM #1 |  |  | PERFECT PICK | ↓ |  | ↓ | [5 empty] | 14 | = | 8 |  | 35 | = | 8
[17 empty] | 28 |  | 11 | [5 empty] | 15 | = | 8 |  | 36 | = | 8
[17 empty] | ↓ |  | ↓ | [5 empty] | 16 | = | 8 |  | 37 | = | 8
[17 empty] | 29 |  | 12 | [5 empty] | 17 | = | 8 |  | 38 | = | 7 | Custom Code because we don't have a standard 7 dnet logix, control Z6 & Z7
[17 empty] | ↓ |  | ↓ | [5 empty] | 18 | = | 8 |  | 39 | = | 8 | Control Z1
[17 empty] | 30 |  | 13 | [5 empty] | 19 | = | 8 |  | 40 | = | 6 | Only should care about first and last zone, may need to take control manually because packages slide straight through this whole bed
[17 empty] | ↓ |  | ↓ | [5 empty] | 20 | = | 8 | Control Zone 5 as holding zone. Release based on input 9 (momentary push button)*** | 41 | = | 8
[17 empty] | 31 |  | 14 | [5 empty] | 21 | = | 7 | Control Z6 & Z7 in PLC | 42 | = | 4 | Control Z2-4 in PLC
[17 empty] | ↓ |  | ↓ | [5 empty] | 22 | = | 9 | Zone 0 = Pass Through (Lift Gate)
[17 empty] | 32 |  | 15 | [5 empty] | 23T | = | DN | Has 1 Zone Prior in Controls*
[17 empty] | ↓ |  | ↓ | [8 empty] | *Upstream is 44T. Move right to transfer
[17 empty] | 33 |  | 16
[17 empty] | ↓ |  | ↓
[17 empty] | 34 |  | 17 | [8 empty] | ***Operator may take tote off the line to empty, cannot release till tote in place again
[17 empty] | ↓ |  | ↓ | [8 empty] | And button pressed PLC Control Z4,Z5 and Z6
[17 empty] | 35 |  | 18 | [9 empty] | DN5 / Outbound From HAI System
[17 empty] | ↓ |  | ↓
[9 empty] | ELEVATOR C | [7 empty] | 36 |  | 19
[17 empty] | ↓ |  | ↓ | [9 empty] | 43 | = | 6 | Control Z1 & Z6 in PLC
[13 empty] | 43 | 42 |  |  | 37 |  | 20 | [9 empty] | 44T | = | UP | Down Position to Receive from PP Line. Run Right to receive tote from 23T
[14 empty] | 41 |  |  | ↓ |  | Gap for alignment
[9 empty] | C | 44T | ← |  | ← | ↑ |  |  | 38
[10 empty] | 23T | ← |  | ← | 40 |  |  | ↓
[13 empty] | 22 | 39 |  | ← | 39
↑
[13 empty] | 21 |  | GAP |  | 21 |  | 20
Transfers Need to be Tested
4T | Seperates totes for Perfect pick and Hai system
6T | Acts as a 90 degree turn
24T | Diverts Perfect pick onto Hai's exit
44T | Diverts Perfect pick onto Hai's exit
Has new code, is working (normal 8 zone cards also have this same logic already)
Has old code, is working
Is a transfer, is working
Needs to be tested
Needs Code Work PLC
Needs Code Work DNET
DNET Code complete offline. Need to download once Node is communicating
No Comms to Node Yet
Note on U8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Gap in layout for conveyor alignment details
Note on Q33: Jordan gergle: This could end up being less than 4 drives
Note on R33: Jordan gergle: This could end up being less than 4 drives